April 25, 2002

Mr. Kenneth Mccants

State of Louisiana

Office of State Fire Marshal

Code Enforcement and Bldg. Safety.

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE:
P0224159
A-1 Office Building

676 Thompson Road

Slidell, Louisiana 70458

Dear Mr. Mccants,

This letter and the enclosed drawing are to clarify the information from the local Fire Marshal regarding the above referenced project. We originally had the second floor stairway exiting into the storage area. We have now relocated the second floor stairway to exit back into the first floor, as indicated in the drawing.

We would like to get your approval on this change. Please call me with any questions that you may have.

Thank you,

Chuck Dammon

