February 21, 2002

Attn:
Rose Linzell

Department of Health

Office of Public Health

520 Old Spanish Trail, Ste. 200

Slidell, Louisiana  70458

Re:
New Shell Station/Pearl River, Louisiana

Dear Rose,

Attached please find a full set of plans for the above referenced project for your final review and approval.  Please note that we have made the following changes as per your request and letter dated February 18, 2002.

1. The total fueling pumps have been reduced from 14 to 10, allowing for the current number of toilets.

2. A bathroom has been added to the bank area.

3. The garbage area will be enclosed with pad and drain connected to grease interceptor with hot and cold water.

4. There will be a minimum grease interceptor of 125 gallons.

5. The three compartment sink, condensate and beverage drain lines will be air-gapped.

6. A hand sink has been added in the cleaning area of the storage room

Also attached, please find the completed Plans Review Questionnaire.

If you have any further questions or comments, please feel free to call.

Sincerely,

Chuck Dammon

VP/Project Manager

CKD:clh

