April 13, 2005
Mr. Anthony Emukah

City of New Orleans

Plan Review Division

1300 Perdido Street, Ste 7E06

New Orleans, LA  70112

RE:
Permit NO – 04COM-00395

19401 Chef Menteur, Bldg. 19


New Construction

Dear Mr. Emukah,

The following are answers to the comments faxed to me this morning from your office.

1. We will provide you with a set of shop drawings bearing the stamp of a Louisiana Registered civil engineer.

2. The free standing paint booths meet the requirements of IBC Section 416 in its entirety.

3. The paint booths comply with NFPA 33, Chapter 3, Construction and Design of Paint Booths, Chapter Five, Ventilation, and Chapter 7, Protection.

Electrical Comments:

1. All wiring in paint spray booth area and connections to building components meets the requirements of NEC 2000 Article 516.0.

2. All installed electrical wiring conforms to the requirements of the IBC 2000 editions, as amended, the NEC (NFPA 70) and other applicable safety codes, with all amendments by the City of New Orleans, as listed in your letter. 

3. The total electrical work was over $15,000.00.  The permit number is 05 ELC-008817.

I ask that you approve this letter and provide temporary occupancy until we can provide any further requirements.

Sincerely,
Emmett G. (Pete) Dammon, P.E.
