For Mike Serpas to take to the city

Earthquake Design Data:

1. Seismic Group 1

2. Table 16151.1

Site Classification D

3.
Fa = 1.6
Fv = 2.4

4.
SMS = FA (1.6) x S5 (.14) - .224


SM1 = Fv (2.4) x S1 (.06) - .144


SDS = .66 (SM5 - .224) - .147


SD1 = .66 (Sm1 - .144) - .095

From 1616.3 (1), Group 1, = Design Cat. A

From 1616.3 (2) Group 1, Design Cat. C

Allowance soil boring capacity – 1,500 lbs. per s.f. for spread footings up to six feet in width.

