July 27, 2005

Mr. Edwin Lee

Office of State Fire Marshal

8181 Independence Blvd.

Baton Rouge, LA  70806

RE:
Level 10 Marketing


PO295057

Dear Mr. Lee,

In reference to your review letter for the above referenced project dated Jul 25, 2005, please note the following response to your Item #4 (b):

Walls will be design No. U465; Ceiling/Floor will be design No. G501.

If you have any questions, or require any further information, please feel free to call.

Sincerely,

Chuck Dammon
VP/Project Manager
