Mr. Kirk Pichon

Plan Examiner

The City of Slidell

2055 Second Street

Slidell, Louisiana  70458

RE:
Parc Pontchartrain/3735 Pontchartrain Drive


Earthquake Loads
Dear Mr. Pichon,

Following is the earthquake design analysis for this project.

1. Seismic Group 1
2. Table 16151.1

Site Classification D
3.
Fa = 1.6
Fv = 2.4

4.
SMS = FA (1.6) x S5 (.14) - .224


SM1 = Fv (2.4) x S1 (.06) - .144


SDS = .66 (SM5 - .224) - .147


SD1 = .66 (Sm1 - .144) - .095

From 1616.3 (1), Group 1, = Design Cat. A

From 1616.3 (2) Group 1, Design Cat. C

5. Design Cat. A & C shall follow article 1616.4.1 through 1616.4.4 fro design of structure.
If you have any questions, or require any further information, please feel free to call.
Reference IBC 2000.
Sincerely,

Emmett G. (Pete) Dammon, P.E.
