Site Analysis

January 20, 2005
Ms. Chandra Nicholson
Engineer

City of Biloxi

RE:
LaQuinta Inn


Cedar Lake Road


Biloxi, MS

Rainwater Retention:

All runoff from the property will be directed to the existing pond at the rear of the property.  The area used for a swimming pool in the rear of the new motel will recapture area from the lake.  We included this in our new calculations, retaining sufficient rainwater in the parking area to cover this additional area., sent to your earlier this week.  The whole site, including the new restaurant/store, was included in the calculations.  Post-development run off will not exceed pre-development runoff.
Electrical Utilities:

The electrical service designed for the motel is a 2,000 amp, three phase 120/208 volt system.  This size service has proven to be sufficient for the LaQuinta Motels of this same size for several years of designing them.

Mechanical Utilities:


Plumbing System:

Connected to the existing local sewage grid at the street.  When the restaurant is designed it will have a separate connection to the city sewer.

Water:

Connected to the existing local system.  Each building will have a separate tie in and meter.

All electrical, plumbing and mechanical systems will be installed to meet the national, state and city codes, as pertains to that part.

If you have any questions, or require any further information, please feel free to call.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

xc:
Scott Delano

