August 8, 2003

Francis Pessoa

Building Plan Examiner

City of New Orleans

1300 Perdido Street

City Hall – Room 7E06

New Orleans, Louisiana  70112

RE:
Permit No. B-03003532


14701 Chef Menteur Hwy

Dear Ms. Pessoa,

In response to your letter dated August 1,2003, copy attached, regarding the above referenced project, please note the following:

ARCHITECTURAL:

1. Plans shall contain a statement stating:  “These plans have been prepared under my direct supervision and to the best of my knowledge comply with the Standard Building Code.  I will or will not supervise the work.”  The Standard Building Code 1997 ed., Art. 103.2.5. as amended by the City of New Orleans.

This statement is present on new plans.
2. Approval from the State Fire Marshal is required.  Please contact the State Fire Marshal’s office at 5150 Florida Boulevard, Baton Rouge, LA  70806, Ph. (225)925-4920, (800) 256-5452.

Contractor will provide.
ELECTRICAL:

1. If total electrical work exceeds $15,000.00 dollars, please provide the following:  [New Orleans Amendments to the Standard Building Code, 1997 Ed. Section 103.2.6]

See below

a.) Two sets of complete Electrical Plans and specifications.  Plans shall include details for service, feeders, panel boards, transformers, disconnect switches, lights, receptacles, wires, cables, wiring devices, symbol schedule, wireways/junction boxes etc. [City of New Orleans Amendments to the 1994 Standard Building code Section 104.2.5 and 2717/New Orleans Amendments to the Standard Building Code, 1997 Ed., Section 103.2.6].

This job will be over $15,000.00.  This apartment is in a big set of community apartments.  This particular building burned down.  The panels are existing and located in another building.  Please refer to the plans for receptacles and lighting locations.
b.) The above plans and specifications shall bear a wet [live] seal and signed statement of a Louisiana Registered Electrical Engineer. [City of New Orleans Amendments to the 1994 Standard Building Code Sections 103.2.5/&2717/New Orleans Amendments to the Standard Building Code, 1997 Ed. Section 103.2.6].

Please refer to new plans.
2. If total Electrical work done under this permit is less than $15,000.00 dollars, then please provide and Electrical estimate of this job from an electrician who is licensed with the City of New Orleans [CLAS – A license New Orleans Amendments to the Standard Building Code, 1997 Ed. Section 2703 page 26.]

N/A
If you have any questions, or require any further information, please feel free to call.

Sincerely,

Chuck Dammon/Project Manager

