January 17, 2007
Eric Giroir

Assistant Director of Permits

City of Slidell

2055 Second Street

Slidell, Louisiana  70458

RE:
Sun Valley Apartments
Dear Mr. Giroir:

With regard to the above referenced project please note the following:
· Changed demising wall in Building #7 from a 1-hour firewall (GA File No. WP 3380) to a 2-hour firewall (GA File No. WP 3910) to provide required separation between the clubhouse and adjacent apartment units.  Details on sheets A-8 and A-9 have changed to reflect this alteration to the original plans dated 1-06-06.

· All fire rated partition walls in buildings 1-6 (GA File No. WP 3370) shall be constructed as approved by the fire marshal on sheet A-2 of the original plans dated     1-06-06.  The walls shall have 2 separate top plates and 2x4 fire stopping as shown in the detail on sheet A-2.

If you have any questions or require any further information, please feel free to call.

Sincerely,

Chuck Dammon

VP/Project Manager

