March 18, 2010

City of Slidell

Permits Department

Re:
La Dolse Vista “The Sweet Life” Dress Shop

Owners: Mr & Mrs., Joseph “Barry” Gioe

Suites “B&C”

1402 Gause Blvd., 

Slidell, La. 70458

Mr. Gioe requested that I Calculate the weights of the affected building parts and determine the spacing required to install columns so that the wall between the two units can be removed up to 10 ft, above the floor.

He proposed to use 2 each 4”X6” vertical columns 10 feet high (with 2” gap between for conduit), and with a horizontal beam composed of 3-2”X12” boards horizontally above the columns.

Calculations show that a maximum column spacing of 8 ft. center to center should be used.

Sincerely,

Emmett Dammon. P.E.

La # 8796

