January 15, 2007

St. Tammany Parish

21470 Koop Drive

Mandeville, LA  70471

RE:
Mark Burgholzer


Harvest Builders International


379 Voters Road


Slidell, LA  70458


Fax 985-847-2291

To Whom It May Concern:

The original design for the referenced project called for the use of two Simpson Strong Tie #HTSM20’s per pier.  We approve the substitution of one FJA foundation anchor per pier in lieu of the two called out originally.

If you have any questions, or require any further information, please feel free to call.

Sincerely,

Chuck Dammon

