Exterior Finishes:

1. Contractor to wash or pressure wash existing exterior surfaces and existing stucco visible from the parking lot or street to remove surface dirt and dust. Do not damage existing stucco, use minimal pressure, 1200 – 1500 psi max., with a wide spray tip.

2. Allow stucco to thoroughly dry before proceeding with priming and caulking, 24 hours minimum, but also dependent on temperature and humidity.

3. Remove and replace all exterior caulk at all openings and penetrations including windows, doors, vents, expansion or control joints,  or cracks, etc. Report any damaged stucco areas. Prior to re-caulking, prime paint all stucco with an acrylic primer, Sherwin-Williams or better. An acrylic masonry primer is best for stucco finishes. Re-caulk with an elastomeric caulk.

4. Contractor to repair water damaged soffit in front of store prior to painting exterior.

5. Re-paint in accordance with manufacturer's recommendations using an elastomeric paint. A paint designed for masonry surfaces will be most durable.

