STATE OF LOUISIANA
Department of Public Safety and Corrections
Office of State Fire Marshal Code Enforcement and Building Safety
8181 Independence Boulevard
Baton Rouge, Louisiana 70806
225-925-4920

HENRY H. FRY
DEPUTY ASSISTANT SECRETARY

AMENDED LETTER

EDWARD GREMILLION, P E, C E
DAMMON ENGINEERING, INC
1095 FLORIDA AVE
SLIDELL, LA  70458-0000	RE:  P0288867
TEXTRON ASV MANUF FACILITY PAINT SPRAY BOOTH
19401 CHEF MENTEUR HWY
NEW ORLEANS, LA  70140-0000

NFPA 101, 2003

INDUSTRIAL

Dear Applicant:

This is to advise that the previous review letter dated 02/22/2005 for this project is hereby amended as follows:

1.	This office is in receipt of correspondence from Steve Kramer, Herbert Hiller Corporation, dated December 15, 2005, pertaining to the above referenced facility, and after review, makes the following response.

Mr. Hiller states that the four paint spray booth suppression systems, reviewed under P0288867, have to be replaced due to hurricane damage.  Mr. Hiller states that the new suppression systems are identical to the original systems in every way and his scope of work is strictly "replacements-in-kind".  Mr. Hiller requests that this replacement scope of work be exempt from plan review, because it was recently reviewed under P0288867.

Please be advised that a plan review for the "replacements-in-kind" work is not required to be submitted to this office for review.  New work shall be consistent with the existing SFM stamped plans.  Final inspection is required. 

This review applies to the work indicated on the drawings or specifications.

This review shall in no way permit or authorize any omissions or deviations from the specific requirements of the adopted codes, rules and regulations in accordance with R.S. 40:1574.1(B).

The above amended review is valid if construction starts within 180 days from the above date of the original review letter.

Occupancy of the project will not be permitted until we receive the completed certificate and a satisfactory inspection of the completed construction has been made by this office.

To arrange for inspection of the project, please contact the District Office at the phone number below, two (2) to three (3) weeks in advance. Approved plans must be available on job site at time of inspection. Certificate of completion must be provided to inspecting Deputy for final inspection.

REVIEWED BY:
JEAN CARTER, JR
ARCHITECT SUPERVISOR

CC:
Textron Marine & Land Systems
Herbert S Hiller Corp
Property Insurance Association*
Bhola Dhume*
New Orleans Fire Prevention District
New Orleans District*     5042194600