UNISTRUT PRODUCT SPECIFICATIONS

TEXTRON MARINE BUILDING

252 STONE ROAD

SLIDELL, LOUISIANA

UNISTRUT MOUNTING BRACKETS ARE SPECIFIED FOR THIS PROJECT

Product                                Number                 Length                Finish
Channel Column                  P5500T                    24”                       HG

    “           “                                 “                         36”                       HG

    “           “                                 “                         48”                       HG

Cable Tray Bracket              P2946                      18”                        HG

Pipe Strap                   P2070-106-HG                 10”                        HG

(Item is a special order part)

Channel Nut                         P5510                       --                     --

Hex Head Screw                  HHC5050150EG     1 ½”                 --

End Caps                              P2860-55                  1”                    --

(To be installed on end of Cable Tray Bracket)

· Pipe strap P2070-106-HG.  This strap will be a special order designed to accommodate the 10” PVC pipe used for the water drainage.  It will be necessary to contact the manufacturer representative located in Houston, Texas UNITED SALES ASSOCIATES at 800-521-7730 to price and place an order for all UNISTRUT 

      products.

      Product catalog pages for each of these items are available.

