554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

dammoneng@bellsouth.net

Textron Marine & land systems

Stone Road Addition

Pre-Bid Meeting Date: December 02, 2013

Meeting Time: 2:00 p.m.

Attendees:

Kevin Luscy, Camellia Corp.

Marcus Canal, McDonald Const.

Steve Heart, C.G. Favret

Daniel Latournerie, Textron Marine

Kevin Boudreaux, Textron Marine

David McQueen, Textron Marine

Lawson Smith, Textron Marine

Chuck Dammon, Dammon Engineering

Kevin Kinchen, Dammon Engineering

Minutes:

- Meeting opened with signing in of attendees - see attached sign in sheet.

- The following information was disseminated during the pre-bid meeting:

- The ramp on the East Side of bldg. will enlarge per an issued addendum.

- Change scale for the enlarged plan on dwg C-2 to read 1”= 10’.

- Textron Marine will hire & coordinate Fire Alarm installation.

- The Contractor will hire and coordinate the Sprinkler System with either,

(Hebert Hiller & Son or Hagemeyer).

- Dammon Engineering shall provide the contractor with a survey.

- Quote # shall be 2177

- Contractor shall remove all railroad tracks to end of property.

- The ramp on the north end of bldg shall have the steel diamond plate

Flush with the concrete.

- Contractor shall dissemble the portable bldgs and turn over to Textron

and remove all attachments.

- A bond shall be secured for this project.

- Bids are due December 16th 2013.

- Liquidated damages shall apply for this project.