554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

www.dammonengineering.com

info@dammonengineering.com

CAMP VILLERE

NEW HOME CONSTRUCTION

State Project: LA14-A-037

Engineer’s Project: 2210

Bi-Weekly Construction Meeting Minutes

April 25, 2017

9:00 a.m.

Attendees:

Gerald J. Leonick, Camp Villere

Autry Chandler, LANG - Facility Engineer

Jason Cox, Grillot Construction

Charles Crawford, Grillot Construction

David Dammon, Dammon Engineering, Inc

Minutes:

- Meeting opened with a discussion about the 1st pay app for Grillot.  James is running down the process to see when the pay will be paid.

- A discussion was held concerning the installation of the double layer of felt underlayment for the roof.  The first 19-inch at the bottom of the roof shall have a starter course that is attached to the decking with the asphalt roofing cement.  This shall apply to the entire roof.  See Section 073113-3

- We are waiting on the Vinyl Plank samples and the plumbing submittals.

- The electrical submittals have been reviewed except the light fixtures.

- The front and rear exterior doors are shown on the plans as 7’-0” tall.  The rear door has a 6’-8” door leading to a storage room next to it.  This may look odd, so changing this rear door to a 6’-8” door would look more aesthetically pleasing.

- A site visit was performed to view the construction progress.

- Next scheduled meeting is 5/9/2017 at 9 am (0900).