554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

www.dammonengineering.com

info@dammonengineering.com

CAMP VILLERE

NEW HOME CONSTRUCTION

State Project: LA14-A-037

Engineer’s Project: 2210

Bi-Weekly Construction Meeting Minutes

May 23, 2017

9:00 a.m.

Attendees:

James Downing, LANG - Operations

Gerald J. Leonick, Camp Villere

Charles Crawford, Grillot Construction

David Dammon, Dammon Engineering, Inc

Minutes:

- Meeting opened with a discussion about the project’s percentage of completion.  The project is now 48% complete.  The mechanical and electrical rough-ins are almost complete and the plumbing should start tomorrow.  The exterior siding is progressing.  The exterior walls should be insulated starting next week.

- A discussion was held concerning the color choice of kitchen counter top and the splash guard behind range. The samples were taken to review the choices.

- The exterior siding cementitious trim that has been installed does not have a finished edge.  The edges will be skim coated to provide a finished edge before paint is applied.

- A site visit was performed to view the construction progress.  The area around the residence will need additional site work to give the residence a yard that does not pond.

- Next scheduled meeting is 6/6/2017 at 9 am (0900).