554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

www.dammonengineering.com

info@dammonengineering.com

CAMP VILLERE

NEW HOME CONSTRUCTION

State Project: LA14-A-037

Engineer’s Project: 2210

Bi-Weekly Construction Meeting Minutes

June 20, 2017

9:00 a.m.

Attendees:

James Downing, LANG - Operations

Gerald J. Leonick, Camp Villere

Jason Cox, Grillot Construction

Dustin Hitt, Grillot Construction

David Dammon, Dammon Engineering, Inc

Minutes:

- Grillot Construction has been probing for a water line that runs to the slab behind the new house and has not found it.  Connecting to this 2” line would be preferred over connecting to the line under the street.

- The sewer force main appears to be 6 to 12 inches below grade.  In order to bury the force main from the house at a proper depth the line would run deep then turn up to meet the force main.

- All of the ruff in inspections have been completed.

- The Change Order for the additional sidewalk is being processed.

- The interior trim was selected see attached cutsheet.

- The next scheduled meeting was 7/4/2017  however since this is a holiday it has been rescheduled for 7/11/2017 at 9 am (0900).