554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

www.dammonengineering.com

info@dammonengineering.com

CAMP VILLERE

NEW HOME CONSTRUCTION

State Project: LA14-A-037

Engineer’s Project: 2210

Bi-Weekly Construction Meeting Minutes

July 25, 2017

9:00 a.m.

Attendees:

Gerald J. Leonick, Camp Villere

Jason Cox, Grillot Construction

Dustin Hitt, Grillot Construction

David Dammon, Dammon Engineering, Inc

Minutes:

- The electrician has not gotten the meter installed; however the house is connected to the temporary power pole for testing.

- The water line has been installed in the ground to the location where the water main is located.  The connection is expected to be completed by next week.

- The lift station has been delivered and expected to be installed by next week.

- A site inspection was performed.

- The next scheduled meeting is 8/8/2017.  Please adjust your scheduled reminders.