PROJECT MANAGEMENT AND COORDINATION 		013100 – 3

1.6 PROJECT MEETING

A. Preconstruction Conference: Designer will schedule and conduct a preconstruction conference at Project site before starting construction, at a time convenient to Owner and Contractor.

1. Attendees: Authorized representatives of Owner, Engineer, and their consultants; Contractor and its superintendent; major subcontractors; suppliers; and other concerned parties shall attend the conference. Participants at the conference shall be familiar with Project and authorized to conclude matters relating to the Work.

2. Contractor shall furnish to the Engineer and Owner at the Preconstruction Conference:

a. The Schedule of Values.

b. List of subcontractors and major suppliers.

c. Provide a photo copy of current driver's license and proof of insurance for all persons and vehicles to be on site.

d. The Construction Schedule.

3. Agenda: Discuss items of significance that could affect progress, including the following:

a. Designation of key personnel and their duties.

b. Change Orders.

c. Invoice Procedures.

d. Prior Approval.

e. Testing Lab, Procedures for testing and inspecting.

f. Project Sign.

g. Meetings.

h. General Correspondence.

i. Shop Drawings.

j. Procedure for keeping Record Documents.

k. Security.

l. User's occupancy requirements.

m. Location of staging areas and use of the premises.

n. Parking availability.

o. Location and type of temporary facilities and utilities.

p. Responsibility for temporary facilities and controls.

q. Office, work, and storage areas.

r. Equipment deliveries.

s. Outages/Interruptions of Services.

t. Work restrictions.

u. Working hours.

v. Progress cleaning.

w. Safety and First Aid.

x. Use of any Asbestos Containing materials is prohibited.

y. Pre-Closeout Conference.

4. Minutes: Designer will record and distribute meeting minutes.