Total s.f. = 1400 s.f.

***********************************************************************************

2 – Bathroom Group - Water Closets with tank, lavatory and bathtub

1 – 2 Comp Kitchen Sink

1 – Washing Machine

1-Residential Dishwasher

Description				Fixture Units		# of Fixtures		Total Units

Bathroom Group				6.0			2		  12.0

Kitchen Sink					2.0			1		    2.0

Washing Machine				3.0			1		    3.0

Dishwasher					2.0			1		    2.0

Total Units		19.0

4” Sewer with 1/8” fall per foot can service 180 fixture units. (1/4” fall / foot 216 fixture units)

*************************************************************************************

Description				Fixture Units		# of Fixtures		Total Units

Bathroom Group				3.6			2		    7.2

Kitchen Sink					1.4			1		    1.4

Washing Machine				1.4			1		    1.4

Dishwasher					1.4			1		    1.4

Total Units		11.4

Water Usage for 12 Fixture Units estimates 16.0 gpm @ 2.1 cfm

3/4” water line will provide 6 gpm (4 fps) or 11 gpm (8 fps)

Use a 3/4” water line.