DAMMON ENGINEERING, INC.
dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

St. Tammany Parish Administrative Complex

Slidell, Louisiana

Addendum #4
Date:
July 10, 2007
To:
All Planholders:

Braithwaite Construction Co., LLC

ARC Mechanical Contractors, Inc.


Arrighi Simoneaux, LLC


Kevin J. Smith Construction Co.


NATCO, Inc.

Dodge Reports Plan Room (New Orleans Office)


I-Square Foot Plan Room
Ladies and Gentlemen:

The following changes have been made to the plans and specifications:

A. Drawing M-8 of the Base Bid Package:
a. There are two exhaust fan schedules shown on M-8.  The schedule that is directly above the air handler schedule is deleted.  See the exhaust fan schedule in the lower left field of the drawing that has a column showing horsepower requirement.

B. Add Specification Section 15172, pages 1-8, for “ABB Automation Technologies, Adjustable Frequency Drives,” copy attached.

C. Replace Specification 15900, pages 1-17 with Specification 15900, pages 1-21, pdf file attached herein.

D. Replace Sheet D-1 of the Base Bid Package with sheet D-1, pdf file attached herein.

E. Replace Sheet A-1 of the Base Bid Package with sheet A-1, pdf file attached herein.

F. Provide adjustable dampers in all fresh air intakes.

G. Add Specification Section 15260 “Piping Insulation,” pages 1-4, pdf file attached herein.

H. Add Specification Section 15510 “Hydronic Piping,” pages 1-6, pdf file attached herein.

I. Add Specification Section 15410 “Plumbing Piping,” pages 1-5, pdf file attached herein.

Acknowledge receipt of addendum(s) in your bid document.

Sincerely,

Emmett G. (Pete) Dammon, P.E.
