## 10.5
Irrigation Budget Sheet
Main and POC
| Site SF | 272880
| 1inch of Water CF | 22740
| Gallons | 170550
40 | 40 HR Water Week GPH | 4263.75 | HRS
| Gallons Per Min. GPM | 71.0625 | Minimum
| SIZE MAIN OFF OF GPM | 2.5 |  | Use Chart to Determine Pipe Size with GPM
Bed Irrigation
| Bed SF | 52450 | 19.22% |  |  |  | Head SF/4 GPM @ 30 PSI
| 10H Head/78SF | 672.4359 | Heads |  |  | Head | SF | GPM
| .79 GPM Per Head | 531.2244 | GPM |  |  | 5H | 19.63 | 0.2
30 | GPM Per Zone | 17.7075 | Zones |  |  | 10H | 78 | 0.79
[6 empty] | 15H | 176.7 | 1.85
| Lateral Line 20LF Per Head | 13448.7179 | LF
3% | 2-Inch 5% |  | LF
15% | 1.5-Inch 15% | 2017.3077 | LF
20% | 1.25-Inch 20% | 2689.7436 | LF
25% | 1-Inch 25% | 3362.1795 | LF
40% | .75-Inch 40% | 5379.4872 | LF
Turf Irrigation
| Turf SF | 220430 | 80.78%
80% | Spray Zones 10% SF | 176344
| 15H Head/176.7 SF | 998.1548 | Heads
| 1.85 GPM Per Head | 1846.5863 | GPM
45 | GPM Per Zone | 41.0353 | Zones
| Lateral Line 20LF Per Head | 19963.095 | LF
5% | 2-Inch 5% | 998.1548 | LF
10% | 1.5-Inch 10% | 1996.3095 | LF
20% | 1.25-Inch 20% | 3992.619 | LF
25% | 1-Inch 25% | 4990.7738 | LF
40% | .75-Inch 40% | 7985.238 | LF
20% | Rotor Zones 90% SF | 44086
| 25 MPR Rotors 360/SF Per Head | 133.5939 | Rotors
| 1.98 GPM Per Head | 264.516 | GPM
45 | 45 GPM Per Zone | 5.8781 | Zones
| Lateral Line 35LF Per Head | 4675.7879
15% | 2-Inch 15% | 701.3682 | LF
20% | 1.5-Inch 20% | 935.1576 | LF
30% | 1.25-Inch 30% | 1402.7364 | LF
20% | 1-Inch 20% | 935.1576 | LF
15% | .75-Inch 15% | 701.3682 | LF
| ROUGH IN CAD MAIN LINE LOOP | LF | 3204
| ROUGH IN CAD SLEEVES | LF | 200 | Determine Size to Accomidate Main
Units |  | AVERAGES |  |  | ACTUAL SYSTEM COSTS
272880 | Cost per SF | 0.5 | 136440 |  | 272880 | Sf | 0.1221
64.6209 | Cost per Zone | 2142.8571 | 138473.2776 |  | 15 | Zones | 2221.3333
1670.5906 | Cost per Spray | 75 | 125294.2987 |  | 366 | EA
133.5939 | Cost per Rotor | 125 | 16699.2424 |  | 23 | EA | 85.6555
41291.6009 | Cost per Foot of Pipe | 3.05 | 125939.3826 |  | 7700 | LF | 4.3273
[5 empty] | 33320 | Actual Sell
3204 | Main Line |  |  |  | 23333 | Actual Cost
1699.5229 | 2-Inch 15%
4948.7748 | 1.5-Inch 20%
8085.099 | 1.25-Inch 30%
9288.1108 | 1-Inch 20%
14066.0934 | .75-Inch 15% | 41291.6009 | 0.82341