Section 311000   SITE CLEARING

Protect existing trees, shrubs, groundcovers, plants and grass to remain.

Remove existing trees, shrubs, groundcovers, plants and grass as scheduled.

Clear and Grub as scheduled.

Strip and stockpile topsoil.

Remove above- and below-grade site improvements.

Disconnect, cap or seal, and remove existing site utilities as scheduled.

Provide temporary erosion and sedimentation control measures.

Section 312000   EARTHWORK

Prepare subgrades for slabs-on-grade, walks, pavements, lawns and grasses.

Provide subbase course for concrete walks and pavements.

Excavate and backfill for utility trenches.

Excavate and backfill trenches for buried mechanical and electrical utilities and pits for buried utility structure

Section 334100   STORM UTILITY DRAINAGE PIPING

Provide gravity-flow, nonpressure storm drainage system and retention at parking areas, with cleanouts, drains, precast or cast-in-place catch basins, orifices, special fittings for expansion and deflection, backwater valves, and HDPE pipe.

Section 321313   CEMENT PAVING

Provide exterior cement concrete pavement for driveways and roadways, parking lots, curbs and gutters, and walkways.

Section 281300   ACCESS CONTROL

Provide server hardware and software, application software and closed circuit television cameras as applicable for surveillance systems, intrusion detection devices, security access devices, access control, relay control, alarm monitoring controllers, credential creation and credential holder database and management.

Section 321373   CONCRETE PAVING JOINT SEALANTS

Provide expansion and contraction joints with sealants within cement concrete pavement.

Section 330500   COMMON WORK RESULTS FOR UTILITIES

Provide pipe joining material, transition fittings, dielectric fittings, sleeves, identification devices, grout, flowable fill, piped utility demolition, piping system common requirements, equipment installation common requirements, painting, concrete bases, metal supports and anchorages.