Addenda No. 1

1. The value of the Industrial Arts Building, for insurance purposes, is $800,000.00.

2. The preference of the Owner is that existing skylight panels are to be replaced with new skylight panels. The Bidder will have to provide details in accordance with their system and required warranties.

3. All specified or approved Roof Re-Coating systems to provide One Year Installer's warranty and Ten Year NDL Labor and Materials warranty from the system manufacturer.

4. Roof Re-Coating Systems, considered “Approved As Equal” are as follows:

GAF “Topcoat”.

United Coatings “Roof Mate”.

Andek “Polaroof/Roofab/Polarprime” System.

Uniflex Industrial Roof Coatings System.

Neogard's Elasta-Gard M Roofing System.

American Weatherstar.

5. Specification Manual, Section 076200 -  Sheet Metal Flashing and Trim, page 6, Item B. Downspouts: Hangers to be .404 thick Aluminum in lieu of that shown.

