PEARL RIVER HIGH INDUSTRIAL ARTS BUILDING RE-ROOFING
November 19, 2009
Data: RS Means Building Construction Cost Data 2010
Roof Area = 4,000 sq. ft.
Figures include material, labor, OH&P.
· 24 ga. Galvalume Standuing Seam Roof        $6.15 x 4000 =     $24,600
· Vapor Barrier .04 thk.                           22.50 sq. x 40 sq. =           900
· 3” Polyiso Insulation                                     1.83 x 4000  =        7,320
· Type “B” Metal Deck, 22 ga. Galv.                  2.05 x 4000  =        8,200
· Galvalume Ridge                                       6.00 x 100 l.f.  =          600
· Alum. Gutter + demo                                9.70 x 200 l.f.  =        1,940
· Alum. Downspout + demo                         7.82 x 140 l.f.  =        1,095
· Alum. Downspout Elbows                          10.35 ea. x 10  =          104
· Closure Trim, galv.                                     6.00 x 200 l.f.  =       1,200
· Fascia, galv.                                              8.50 x 200 l.f.  =       1,700
· Demo Sht. Met. Roof                                     .96 x 4000   =       3,840
TOTAL                                                                                          $51,499
