SECTION 071416 – CERAMIC FLUID-APPLIED ROOFING SYSTEM SPECIFICATIONS FOR METAL ROOF APPLICATIONS 
PART 1 –GENERAL 

1.1
RELATED SECTIONS 1 DOCUMENTS 

Ceramic Fluid-Applied Detail Drawings, site specific drawings and General Provisions of the contract, including General, Supplementary and Special Conditions found herein apply to the work addressed in this section. 

1.2 
SYSTEM DESCRIPTION 

Extent of Ceramic Fluid-Applied Roofing System work is indicated on the drawings and is further defined by provisions of this section which includes roofing, flashing and reinforcing of joints and junctions, and roof accessories integrally related to roof installation. Areas to be re-coated include existing metal roofs as indicated on drawings.  Final determination of the fitness of the Ceramic Fluid-Applied System, or its components, for any given coating work shall be considered on the basis of manufacture’s specifications, scope of work, manufacture’s material & labor warranty, manufacture and contractor ten year on site annual inspection program, material finish coat reflectivity value 93% or higher, material finish coat emissivity.90,waterproof membrane 600% elongation or greater. 

1.3 
PERFORMANCE REQUIREMENTS 

Metal roof repairs, re-coating operations and other repairs shall prevent the entrance of moisture into the building as a result of all exposed roof panels, fasteners, and accessories. 

1.4 
SUBMITTALS 

A.
Product Data: Provide data describing physical and performance chareristics and limitation including coating thickness for primer and finished surfacing, reinforcing repairs, etc. 

B.
Shop Drawings: Provide complete system drawings, including fully dimensioned construction details, terminations for flashing treatment, etc. 

C.
Samples: 1. Submit color chart of all finished coatings to be used.

 2. Submit 12”x12” sized sample illustrating selected profile, surface texture and   color. 

D.
Installers Certificate: Certifying that the products and systems have been installed according to manufacturer’s installation instructions and applicable codes and ordinances. 

E.
Manufacturer’s Installation Instructions: Include installation sequence, special instructions and Material Safety Data Sheets. 

F.
Manufacturer’s Certificate: Certificate stating products meet or exceed all specified requirements and that systems have been designed according to applicable codes and ordinances. 

G.
Maintenance Data: Include manufacturer’s recommendations for cleaning agents and methods, precautions against detrimental agents and methods, and recommended schedule for cleaning and maintenance. 

H.
Contract Closeout Submittals: 

1.
Project Records Documents 

2.
Contractors Three Year Labor and Material Warranty 

3.
Manufacturer’s Ten Year warranty 

4.
Submit all warranties from both the factory and local company representing and installing the products 

1.5 
QUALITY ASSURANCE 

A.
Manufacturer Qualifications: Provide primary products, including Ceramic Fluid-Applied Roofing Membrane Finish Coat, Fluid Applied Waterproof Membrane, Reinforcing Fabric, Corrosion Primer, etc., by a single Manufacturer, which has produced this type of product successfully for not less than fifteen (15) years. Provide secondary products only as approved by Manufacturer for use with the specified Fluid- Applied Roofing System. 

B.
Installer Qualifications: A single Installer or Firm ("Roofer") shall perform all work address in this section, and shall be certified by Manufacturer for installation of the Fluid-Applied Roofing System. 

C.
Installer Authorization: Installer shall possess written authorization from Manufacturer which certifies they are approved for installation of the Fluid-Applied Roofing System. 

D.
Multi-Layer Materials: All multi-layer materials shall be color coded for on-site inspection and quality control. 

E.
Applicator Qualification: Applicator specializing in applying the Work and Products of this section with a minimum of three years documented experience and approved by the Manufacturer to install the necessary coating system. 

F.
Contractor Requirement: Contractor shall use adequate numbers of skilled workmen who are thoroughly trained and experienced in the necessary crafts, and who are completely familiar with the specific requirements and methods needed for proper performance of the work in this section. 

G.
Owner Testing: The right is reserved by the owner to invoke the following testing procedures at any time during the period of field coating: 

H.
The owner may engage the services of an independent testing laboratory to sample materials being used. Samples of materials delivered to the project site may be taken, identified and sealed, and certified in presence of contractor 

I.
Testing laboratory will perform tests for any of the following characteristics; abrasion resistance, apparent reflectivity, flexibility, washablity, absorption, accelerated weathering,  accelerated yellowness, alkali resistance, and quantitative materials analysis 

1.6 
FIELD QUALITY CONTROL 

A.
If any reduction of the coating’s viscosity is necessary, it shall be done in accordance with the manufacturer’s directions. 

B.
The coating may not be adulterated by the addition of any substance without the manufacturer’s written consent. 

C.
Measure coating film thickness in accordance with SSPC PA2. Retain records of testing for 12 months. For non metallic surfaces measure thickness with a Tooke gauge in accordance with gauge manufacturer’s instructions. 

D.
Record batch numbers and retain samples of each batch for 12 months. 

E.
Record material quantities used. Retain records for 12 months. 

F.
A field quality control inspection shall be completed to owner for approval signature at regular intervals. 

G.
Exercise due care to prevent the contamination of nearby surfaces. Identify surfaces not to be coated and protect those surfaces by covering, masking or other means. 

1.7 
REGULATORY REQUIREMENTS 

A.
Coatings Regulations: All coatings must conform to all state and local regulations including VOC rules at the time of application. The contractor that performs this work shall be fully responsible for having his equipment comply with current regulations and to have available all Material Safety Data Sheets that pertain to the products being used. 

B.
Reference Specifications: Any materials or operation specified by reference and published specifications of a manufacture, The American Society for Testing Materials, Steel Structures Painting Council(SSPC)-“Steel Structures Painting Manual” (Vols I and II ), and National Bureau of Standards-“Organic B557”, and other published standards shall comply with the requirements of the current specification or the standard listed. In case of a conflict between the reference specification and these project specifications, these project specifications shall govern. 

C.
FM Listing: Provide Fluid-Applied Roofing System and component materials which have been evaluated by Factory Mutual System for flarne-spread and are listed in "Factory Mutual Approval Guide" for Class I construction over existing metal roofing (Flame spread must be in accordance with ASTM #E-108). Provide roof covering materials, bearing FM approval marking on package or container, which indicates that material has been subjected to FM's examination, test procedures, follow-up inspection services and approval. 

D.
Flame Spread Evaluation: Provide Fluid-Applied Roofing System and component materials which have been evaluated by laboratories for flame-spread, and are listed in recognized ASTM literature  for Class A construction over existing metal or other non-combustible roofing. (Flame-spread must pass ASTM #E-108 and/or meet UL Standard UL 790) 

1.8 
INSURANCE CERTIFICATES 

Assist owner in preparation and submittal of roof installation acceptance certification as may be necessary in connection with extended coverage insurance on roofing and associated work. 

1.9 
PRE-INSTALLATION MEETING 

Approximately two (2) weeks prior to scheduled commencement of roofing installation and associated work, conduct meeting at the project site with Installer, Architect/Owner, Manufacturer Representative and any other persons directly concerned with the performance of the work. The Installer shall record conference discussions to include decisions and agreements reached (or disagreements), and furnish copies of recorded discussions to each attending party. The main purpose of this meeting is to review foreseeable methods and procedures related to roofing work, including but not necessarily limited to the following: 

A. 
Tour representative areas of roofing substrates to inspect and discuss conditions of substrate, penetrations and other preparatory work to be performed. 

B.
Review Fluid-Applied Roofing System requirements (Fluid-Applied Specifications, Detail  Drawings and other contract documents). 

C.
Review required submittals, both completed and yet to be completed. 

D. 
Review and finalize construction schedule related to roofing work, and verify availability of materials, Installer's personnel, equipment and facilities needed to consistently make progress and avoid delays.

E. 
Review required inspection(s), testing, certifying and material usage accounting procedures.

F. 
Review weather and forecasted weather conditions, as well as, procedures for coping with unfavorable conditions including possibility of temporary roofing work. 

1.10 
SEQUENCING AND SCHEDULING: 

A.
Coordinate work under provisions of applicable section. 

B.
Coordinate work with other trades and work to insure sufficient materials and man-power are available to completely install and make water-tight all roofing installed on a daily basis. 

1.11 
DELIVERY, STORAGE AND PROTECTION 

A.
Store and handle Fluid-Applied materials in a manner which shall ensure there is no possibility of contamination. Store in a dry, well-ventilated, weather-tight place at temperatures between 50°F and 80°F until product is ready to be applied (keep from freezing). Do not stack material pallets. Do not subject existing roof to unnecessary loading of stockpiled materials. Please note that all water-based products are packaged in plastic containers. 

B.
Deliver products in manufacturer’s original containers, dry, undamaged, with seals and labels intact. Include test report data. 

C.
Store products in weather protected environment clear of ground moisture. 

D.
Do not store more materials on the roof than can be installed within two days unless special permission is given. 

E.
No materials are to be stored in direct sunlight or near a high heat source. 

F.
During long term storage, containers should be turned upside down or shaken every 3 months. 

1.12 
ENVIRONMENTAL CONDITIONS 

Proceed with roofing work only when existing and forecasted weather conditions will permit work to be performed in accordance with Manufacturer recommendations and warranty requirements as follows: 

A
Do not begin work if rain is expected or if temperatures are expected to fall below 40F during the duration of the job. (see paragraph C under general requirements)

B.
Upper temperature restriction (both air and substrate) for application of Fluid-Applied products is 180F. If substrate temperatures exceed 180F, products should be applied during cooler periods of the day. No moisture can be present when applying Fluid-Applied products. 
C.
Apply ceramic finish coat in a two coat application. First coat should be a mist or fog coat to cool down roof surface. 

D.
Taking into consideration the UV curing properties of Fluid-Applied Roofing Membrane and Flashing Grade, allow for sufficient daylight hours necessary for curing of materials. Allow 2 to 3 hours for full sun. 

E.
Do not apply metal roof coatings or repair materials during inclement weather. 

F.
Exterior coating shall not be undertaken if the meteorological forecast indicates a probability of precipitation within two hours of application or if the forecast indicates a probability that the surface temperature will drop below freezing within 24 hours of application. 

G.
When the environmental conditions are highly caustic (i.e. acid rain or high concentration of aggressive chemicals in the air), two coats of metal primer with a total dry thickness of 4 mils (100 microns) will be required on metal surfaces. 

H.
During progress of work, remove from project site discarded materials, rubbish, cans and rags resulting from work. 

CAUTION. Other weather and environmental conditions to consider are mist, dew, condensation and relative humidity. These factors can lengthen product drying times. If various products are exposed to rain before they are completely dry, product may 'wash- off' the roof. 
1.13 
SUBSTRATE CONDITIONS 

If any questions arise regarding the compatibility of Fluid-Applied products with an existing substrate, Installer shall prepare test patches to check adhesion. Always contact Manufacturer's Technical Department concerning questionable substrates, required additional information and recommended test patch materials. 

1.14 
SURFACE PREPARATION 

A.
Surfaces shall be prepared, clean, and dry at the time the coatings are applied. 

B.
Unsound existing coatings shall be removed. Sound, adherent existing coatings shall be tested for compatibility by application and testing of a trial patch. 

1.15 
WARRANTY  (Pending Manufacturers’ Approval) 

Provide Manufacturer System Warranty per the requirement of the Building Owner and/or Project Architect. In order to obtain any Manufacturer System Warranty, the following conditions apply: 

A.
Provide three year warranty from installer covering leaks to building resulting from failure to resist penetration of water and replacement of defective materials and labor. 

B.
Provide ten year Manufacturer’s warranty on coatings. Warranty shall provide for full repair and/or replacement of any and all coatings and repairs found defective or responsible for leaks. 

C.
Determination of the appropriateness of the Fluid-Applied Roofing System for any given metal roof must be obtained from Manufacturer's Technical Department prior to offering any Manufacturer System Warranty Manufacturer will refuse to offer a warranty on any Fluid- Applied System being installed over an unfit, unsound or inappropriate substrate. 

D.
Installer must be certified by the Manufacturer. contracted to a non-certified applicator. System Warranty work cannot be sub-contracted to a non-certified applicator. 

E.
Fluid-Applied Roofing System must be applied to the full area of the roof. A System Warranty will not be issued for fluid-Applied System installations over a section of any roof unless otherwise approved in advance by the Manufacturer's Warranty Department. 

F.
Immediately after contract award, Installer shall submit the appropriate section of the System Warranty Form to the Manufacturer's Warranty Department. Installer shall provide a copy of the roof drawing, plus photographs which include descriptions of the roof and all unusual flashing details, with the form. Before, during, and after photos shall be submitted with project profile to Manufacturer at the end of the project prior to warranty issuance. 

G.
Installer shall provide Manufacturer's Warranty Department at least two (2) weeks notice for scheduling of on-site technical support / inspections. 

H.
Fluid-Applied Roofing Membrane must be spray-applied. Any installation where Fluid-Applied Roofing Membrane will be applied by another method must be pre-approved in writing by the Manufacturer's Warranty Department. 

I.
All gutters and roof areas which pond water for more than 48 hours after precipitation ceases are excluded from coverage under the Manufacturer System Warranty. 

J.
Completed Warranty Registration Forms must be returned to the Manufacturer's Warranty Department with appropriate Installer and Building Owner signatures no later than 30 days after issuance by Manufacturer. 

K.
The manufacturer will provide a warranty maintenance inspection program. A Manufacturer’s representative will inspect project within 6 months after completion and contractor shall provide warranty inspections throughout the duration of the warranty period. 

L.
Warranty period shall be at least 10 years and shall be “non-prorated”. 

PART 2 – PRODUCTS 

2.1 
ACCEPTABLE MANUFACTURERS 

A.
Insulating Coatings Corporation (ASTEC Ceramic Fluid-Applied Coating System )Tel(352-344-8741) 

B.
Or Approved Equal with ceramic technology. 

C.
Substitutions: Provide all applicable data for proposed substitution no less than ten days prior to bid due date for review and addendum purposes. 

2.2 
COATING MATERIALS:  METAL ROOFS (or approved ceramic technology equal) 

A. 
ASTEC #4000 Surface Conditioner 

B. 
ASTEC B-16-71 Metal Primer 

C. 
ASTEC 2001 Caulk 

D. 
ASTEC WPM #9 Brush & Roll Grade Waterproof Membrane 

E. 
ASTEC “Pol-E-Force” Reinforcement Cloth 

F. 
Polyurethane Filler Foam 

G. 
ASTEC #2541 Skylight Sealer 

H. 
ASTEC #2000 Patching Compound 

I. 
ASTEC #2000 Base Coat 

J. 
ASTEC #2000 Finish Coat 

K. 
ASTEC #900 Ceramic Finish Coat 

A. 
Pre-Finished Metal Primer:  ASTEC 4000 Surface Conditioner (or approved equal) 

White, water-based adhesion promoting primer designed to enhance the adhesion of the Fluid-Applied Roofing System to pre-finished metal roofing, and/or chalking or oxidized surfaces including those containing fluoropolymers such as Kynar @ or siliconized polyesters. Due to the wide variety of pre-applied finishes, suitability of Pre-Finished Metal Primer must be tested on an individual basis. Do not apply in temperatures under 40'F.


Application Rate:
200-300 sf/per cut gallon
Application Method:
brush, roll or spray
Application Temperature (air, surface):
40F and rising
Drying Time (75'F, 50% RH):
1-2 hrs touch dry, 48 hrs full dry, 21 days full cure
Total Solids:
(by weight): 58%, (by volume): 54%
Dry Film Thickness:
1-2 mils
Specific Gravity / Weight per Gallon:
9.5 lbs.
Pigments:
Clear
Flash Point:
Non-flammable
B. 
Rust Inhibitor: ASTEC B-16-71 Metal Primer (or approved equal) 

Light gray-pigmented, water-based rust inhibitor to be applied over any areas of rust that remain on the substrate after pressure washing. Do not apply in temperatures under 42°F. 

Application Rate:

Application Method:
Application Temperature (air, surface):
Drying Time (75F, 50% RH):
Total Solids (by weight):
Specific Gravity / Weight per Gallon:
Dry Film Thickness:
Flash Point:
V.O.C.:

300 sf/gallon per coat, 148 sf/gallon combined two coats

Brush, roll or spray, require two coat application

40F and rising

2-8 hours dry to touch, 24 hours full dry

43%   (by volume): 37%

10.8 lbs

2-4 mils

200F 

Compliant

C. 
Caulk: ASTEC #2001 Acrylic Latex Caulk  (or approved equal) 

A white modified acrylic industrial grade caulk with the consistency of a smooth paste that exceeds ASTM C-834 specifications. Applied as specified, is intended for sealing out moisture and air where a tough and pliable material is desired.

	
	

	Application Rate: 
	500 lin ft/gallon 

	Application Method: 
	Caulk gun or trowel 

	Drying Time: 
	75F, 20 minutes tack free, 4-6 hours full dry 

	Total Solids: 
	(by weight):  82.5%  (by volume):  71% 

	Weight per Gallon: 
	13.5 lbs. 

	Prime Pigments 
	

	Temperature Range: 
	-30F to 180F 

	V.O.C.: 
	Compliant 

	Flash Point: 
	Non-flammable 


D. 
Flashing Grade (Brush & Roll Formula): ASTEC WPM #9 Waterproof Membrane (or approved equal) 

Light-blue, water-based synthetic rubber sealant to be applied on all seams, fasteners, flashings and penetrations. Curing is enhanced by UV exposure. A sprayable version of Flashing Grade (Flashing Grade - Spray Formula) is available for use. Flashing Grade - Spray Formula has all the same properties as regular Flashing Grade, but is lower in viscosity. Do not apply in temperatures under 40°F.
	. 
	

	Application Rate: 
	82 sf/gall. per coat, 41 sf/per gall. combined two coats 

	Application Method: 
	Brush or roll, required two coats 

	Application Temperature (air, surface): 
Drying Time (75'F, 50% RH): 
	40F and rising
1-2 hours touch dry, 48 hours full dry, 21 days full cure 

	Total Solids: 
	(by weight): 60%, (by volume): 51% 

	Specific Gravity / Weight per Gallon: 
	11.1 lbs. 

	Dry Film Thickness: 
	10 mils per coat 

	Flash Point: 
	Non-flammable 

	Elongation Break: 
	683% 

	Tensile Strength: 

	792 PSI 


E. 
Reinforcing Fabric: ASTEC Pol-E-Force Polyester Cloth (or approved equal) 

Non-woven, spun-bonded polyester fabric that must be used in conjunction with gutter sealant at all seams, roof penetrations, joints or changes in plane that have high shear or stress. Use of Reinforcing Fabric is mandatory on all vertical (except for standing seams), horizontal seams, expansion joints and roof penetrations. 

Reinforcing Fabric Roll Sizes: 

Horizontal Seams   (4”x360’),(6”x360’)
Vertical Seams      (2”x100’)


F. 
Single Component Polyurethane Filler Foam: 

A one component polyurethane filler foam for sealing open voids from air and moisture intrusion. Can be used to seal large open voids to areas as small as 1/8”.

Recommended product: Hilti brand CF 128 Polyurethane Filler Foam


G. 
Skylight Sealer: ASTEC #2541 Skylight Sealer (or approved equal) 

A clear acrylic formula for the protection of the fiberglass skylight commonly found in metal roofing. This product renews the appearance of older skylights and seals out moisture with a tough and pliable semi-gloss finish that helps to protect the skylight material from ultraviolet degradation. 

Application Rate:



225-335 sf/gallon
Application Method:



Brush or roll
Application Temperature (air, surface):

40F and rising
Drying Time (75'F, 50% RH):


1 hr touch dry, 48 hrs full dry, 21 days full cure
Total Solids:




(by weight): 46% (by volume):  42%
Specific Gravity / Weight per Gallon:

9 lbs.
Dry Film Thickness:



2-3 mils
Prime Pigments:



Clear
Flash Point:




Non-flammable


H. 
Crack Filler:  ASTEC #2000 Patching Compound  (or approved equal) 

A high solids acrylic formula that cures to provide superior strength and form a flexible filler for cracks and irregular surface areas. This compound is a surface bonding and waterproofing membrane that assists in protecting the substrate from water intrusion such as alligator style cracks in asphalt and/or tar materials. 

Application Rate: 


Varies by situation
Application Method: 


Trowel
Drying Time: 



1-2 hours touch dry, 48 hours full dry, 21 days full cure
Total Solids: 



(by weight): 69% (by volume): 65%
Weight per Gallon:


13.3 lbs.
Solvent Type: 



Water 

I. 
Ponding Conditions:  ASTEC #2000 Base Coat 

A light gray, high solids, waterproof membrane base coat with exceptional elongation and tensile strength designed to conform to most difficult of surfaces. 

Application Rate: 


66-67 sf/gallon
Application Method: 


Brush, roll or sprayer
Total Solids: 



(by weight):  69%   (by volume):  65% 
Dry Film Thickness: 


15-16 mils
Solvent Type: 



Water Prime
Pigments: 



Titanium
Dry Time: 



1-2 hours touch, 48 hours full dry, 21 days full cure Weight per gallon: 


13.3 lbs. 

J.

Ponding Conditions:  ASTEC #2000 Finish Coat (or approved equal) 

A bright white, high solids, waterproof membrane finish coat designed to create a monolithic seal and to withstand weatherability in areas of poor drainage and prolonged surface moisture. 

Application Rate:


66-67 sf/gallon
Application Method: 


Brush, roll or sprayer 
Total Solids: 



(weight) 69% (by volume):   65%
Dry Film Thickness: 


15-16 mils
Solvent Type: 



Water
Prime Pigments: 


Titanium 
Dry Time: 



1-2 hours touch dry, 48 hours full dry, 21 days full cure 
Weight per gallon:


13.5 lbs. 

K.
Liquid-Applied Ceramic Roofing Membrane Finish Coat:  ASTEC #900 Ceramic Acrylic Finish Coat (or approved ceramic technology equal) 

Water-based, spray-applied ceramic liquid roofing membrane. Curing is enhanced by UV exposure. Available in white and other manufacture’s standard colors as well as custom colors. Do not apply in temperatures under 40'F. 

Application Rate:
Dry Film Thickness:
Application Method:
Application Temperature (air, surface)
Drying Time (75'F, 50% RH):
Total Solids:
Weight per Gallon:
Prime Pigment:
Flash Point:
Fungal Resistance:


59-74 sf/gallon
12-15 mils
Brush, roll or spray
40F and rising
1-2 hrs touch dry, 48 hrs full dry, 21 days full cure 
(by weight): 59%, (by volume): 55% 

10.2 lbs. 
Titanium
Non-flammable
Highest rating 

Warranty Program  ASTEC #900 Ceramic Finish Coat:

Dry Film Requirements:
10 Year Limited Product Warranty: 12 to 15 mils dry film thickness (finish coat only)
10 Year Material & Labor Leak proof Warranty: 12 to 15 mils dry film thickness (plus full waterproof spec)
15 Year Material & Labor Leak proof Warranty: 18 to 21 mils dry film thickness (plus full waterproof spec) 

L.

Fasteners: Self-drilling stitching screws; hex-head, zinc-coated. 

M.

Airless Sprayer & Accessories:
As recommended by Manufacturer's Technical Department for application of sprayable Fluid-Applied Ceramic products.
3000 PSI 
2 Gals/Min Flow Rate 
731 Spray Tip, 14 Inch Fan, .031 tip opening, (change tip every 250 gal. sprayed) 

N.

Pressure Cleaning Equipment: 
A minimum 3000 PSI 3 gals/minute, ceramic bead turbo tip is recommended 

2.3
Products: Test, Properties & Approvals 
Standard


Physical Property

Results

Fluid Applied Waterproof Membrane ASTEC WPM #9 (or approved equal) 

ASTM D-2370


Tensile Strength

792 PSI

ASTM D-412


Elongation at break

683%

ASTM DCD-890

Peel Adhesion


4.0 cp dry

75F, 50%


Relative Humidity

2.0 cp wet

ASTM E 96-A


Water Vapor


0.61 Pereance

ASTM B-117


Salt Spray


No rust, no change
Fluid Applied Finish Coat ASTEC #900 (or approved equal)

ASTM E-97

Emissivity

ASTM E-108

ASTM 653

ASTM D-522

ASTM D-2794

ASTM D-3359-92a

ASTM 1308-87

ASTM G-26-92

ANSI/NSF 61

ASTM D-2370-82

ASTM E-96

ASTM D-2697

UL 790

ASTM B-117

Solar Reflectance

Heat Flux

Flame Spread

2000 Hour Accelerated

Weathering

Conical Mandrel Bend

Impact Resistance

Adhesion

Chemical Resistance

Exposure Weatherometer

Potable Water

Tensile Strength

Water Vapor Transmission

Volume Nonvolatile Matter

Flame Test 

Salt Fog Chamber

94.6%
90.0%
Class A non combustible deck
Passed, no cracking

No cracking
No rupture
No peeling
No change
Passed
Passed
110%
0.61 Perms
53.37%
Class A non combustible deck
7 Passed 

Factory Mutual Testing ASTEC Coating System  (or approved equal) 

ASTM 108-95 

Flame Spread Test


Class A non combustible deck

FMRC 
Hail Damage Class 1-SH 
No cracking, splitting, rupture, separation or delamination

FMRC


Resistance to Foot Traffic

No tearing or cracking

FMRC 


Susceptibility to Leakage Test

No leakage

PART 3 – EXECUTION 

3.1 
PREPARATION OF SUBSTRATE 

A.
Examine Substrates to receive new roofing. Do not proceed with installation of the Liquid- Applied Roofing System until unsatisfactory conditions have been corrected in a manner acceptable to the Manufacturer. 

B.
Verify that surfaces and site conditions are ready to receive work. 

C.
Verify that deck/roof is supported and secured. 

D.
Verify the deck/roof is clean and smooth, free of depressions, waves, or other projections, and is properly sloped to the eves. 

E.
Verify that deck/roof surfaces are dry and free of standing water, dew, snow or ice. 

F.
Verify that the roof openings, curbs, pipes, sleeves, ducts, and vents through the roof are solidly set and wood nailing strips are in place. 

G.
Verify that existing structural framing members are sufficiently sound to receive Work of this Section; ensure all structure and deck is aligned within tolerances in the AISC Code of Standards. 

H.
Take site dimensions affecting Work of this Section. 

I.
Report any discrepancies to the Owner or his representative in writing. 

J.
Beginning of installation means installer accepts existing surfaces. 

K.
PREPARATION OF THE ROOF SUBSTRATE: is the responsibility of the Installer. Installer shall address and correct all of the following: 

· •Treatment of excessive gaps 

· •Installation of sheet metal crickets 

· •Treatment of ponding water areas 

· •Repair of dented/damaged panels 

· •Re-tightening and replacement of fasteners 

· •Thorough cleaning and/or Removal of existing paints and coatings 

· •Treatment of residual asphalt 

· •Treatment of rust areas 

· •Priming of pre-finished metal panels 

· •Miscellaneous items 

L.
TREATMENT OF EXCESSIVE GAPS: All large or excessive gaps existing between roof panels must be closed or made flush with self-drilling fasteners. Closed-celled foam strips or polyurethane foam may be used to pre-fill voids larger than 1/4 inch before applying Flashing Grade. Foam shall be shaped with a utility knife or other method to create a cant strip which facilitates both product adhesion and water drainage, as well as, prevents shearing of Reinforcing Fabric on metal edges. 
M.
INSTALLATION OF SHEET METAL CRICKETS: Sheet metal crickets must be installed according to Manufacturer's specifications (minimum 26 gauge metal - heavier gauge required for larger crickets) on the high side of all curb units. Vertical ribs shall be cut a minimum of 2" from the cricket to allow both the cricket flanges to mount flush to the metal panel and facilitate water drainage. Cut vertical ribs shall then be treated in the same fashion as a void larger than a 1/4 inch. New crickets shall be "sealed" by placing a continuous bead of Gutter Sealant under the flanges before they are mechanically attached to the curb unit and metal roof panel. Then, the cricket flanges must be stitch-screwed to the curb unit and metal roof panel while the Gutter Sealant is still wet using fasteners. This procedure shall apply to installation of all new crickets and curbs. 

N.
TREATMENT OF PONDING WATER AREAS: Installer shall make every effort to mechanically eliminate all ponding water areas on the roof prior to application of Liquid-Applied products ("ponding water' is defined as water which does not properly drain and remains for more than 48 hours after precipitation stops). Ponding water areas which cannot be eliminated shall be treated with ASTEC #2000 Base and Finish Coat prior to application of other Liquid-Applied products. 

O.
REPAIR OF DENTED / DAMAGED PANELS: Installer shall repair dented and/or damaged metal roof panels. Dents shall be mechanically removed to the maximum extent possible and/or if ribs are broken, installer shall cover the broken rib area with a sheet metal cap or sealed with butyl back tape and covered with a Flashing Grade Waterproof Membrane. Sheet metal rib caps must be "sealed" to the roof by applying Flashing Grade over the entire broken rib area to be capped prior to attaching the cap with fasteners, Then, Flashing Grade shall be used to seal all the newly created rib cap seams and fasteners. Should roof panels be severely damaged, installer shall remove and replace damaged areas prior to application of Fluid-Applied products. 

P.
RE-TIGHTENING AND REPLACEMENT OF FASTENERS: All fasteners must be re-tightened, secured or replaced, as necessary. All stripped fasteners must be replaced with larger diameter fasteners. All missing fasteners must be replaced. 

Q.
THOROUGH CLEANING / REMOVAL OF EXISTING PAINTS AND COATINGS: Metal substrate must be pressure-washed with water. A minimum working pressure of 3,000 psi shall be used to remove all dirt, dust, previous paints / coatings which are delaminating and waste products (oil, oil-based roof cements, solvents, grease, animal fats, etc.). Roto-spray tip is required to expedite metal panel cleaning. All existing silicone-based sealants must be completely removed from roof substrate prior to application of Liquid-Applied products. In some cases, a sand injection system may be required or cleaning with TSP (Tri-Sodium Phosphate) during the pressure-washing and cleaning to obtain proper adhesion for Fluid-Applied products. 

R.
TREATMENT OF RESIDUAL ASPHALT: Installer shall make every effort to remove asphaltic roofing elements. Removal efforts must include use of methods such as pressure-washing, scrapers, wire brushes, electrical drill wire-wheels, or other similar tools. Residual asphalt is defined as asphaltic material remaining after the exercise of all required removal efforts, and exists when there is asphaltic material greater in thickness than 3 mils over an area greater than 1 square foot. Residual asphaltic areas are to be addressed with the  Asphaltic Residue Treatment. Apply Asphalt Primer to the entire asphaltic area to be treated. After sufficient drying time, apply Oil Blocker and or waterproof membrane over the Asphalt Primer to block any remaining oils from penetrating the Fluid-Applied Roofing Membrane. 

S.
TREATMENT OF RUST AREAS: All rust areas must be treated with Rust Inhibitor to prevent further deterioration of the metal roof panels. Prior to Rust Inhibitor application, remove all loose, flaking or powdery rust by wire brushing if it has not been removed during the pressure washing. All rust shall be completely covered by the Rust Inhibitor in a two coat application. A third coat of Rust Inhibitor is required for heavily rusted roof panel areas. Since Rust Inhibitor is designed to adhere to rust, only rusted areas shall be addressed with the product. 

T.
PRIMER: Apply two coats of ASTEC B-16-71 (or approved equal) (dry to touch between coats) as a spot primer to corroded areas and fasteners at a total DFT of 4 mils. 

U.
PREPARATION OF TEST PATCHES: Installer shall prepare no less than three (3) test patches for all questionable roof substrates (Kynar@-500 or other fluoropolymers, coatings which contain silicone, etc.) to verify adhesion of Fluid-Applied products. Minimum test patch size shall be one (1) square foot. After the test patches have been applied, allow at least one week of drying time before checking adhesion. Check adhesion by slicing an "X" (approx. 6" in size) near the center of the test patch. Then try to remove the Fluid-Applied material at the center of the "X" with a spatula. Test patches shall be labeled and photographed to document adhesion test results. Installer shall consult with the Manufacturer's Technical Department concerning all adhesion test results. 

V.
 
Miscellaneous Items: 

1.
Pitch Pans: For most situations, pitch pans shall be capped with sheet metal so they can be sealed with Fluid-Applied products Contact Manufacturer's Technical Department for particulars. 

2.
Neoprene Pipe Boots: Manufacturer recommends installation of neoprene boots prior to flashing work being performed for certain types of pipe penetrations. Neoprene boots must first be sealed to the roof using a bead of caulk or mastic prior to mechanical attachment with fasteners. Contact Manufacturer's Technical Department for particulars. 

3.
Open Ridge Vents: Open ridge vents (as shown in Detail Drawings) start to corrode on the inside, and over time, begin to leak. Manufacturer highly recommends either replacement or installing sheet metal caps over the open ridge vents when they are rusted on the inside and/or located in a harsh environment (e.g., salt water areas). Also, sheet metal caps shall be installed when leaks are suspected from the vents. Installation of a cap on the ridge vent will prevent water entry while allowing air to continue to flow through the vent. Do not seal weep holes on the vents. 

4.
Condensate  Lines: Manufacturer recommends installation of condensate lines from HVAC units to gutters as part of the overall roofing contract. Type of piping used for condensate lines may vary depending on local building codes. Lines must be securely fastened to panel ribs. 

W.
Previously Painted Galvanized Steel 

1.
All surfaces shall be clean, free of grease, oil and other contaminants. 

2.
Loose, peeling, chalky and defective existing coatings shall be removed by scraping, sanding, wire brushing or high pressure water blasting. 

3.
White rust (zinc salts) on galvanized surfaces shall be abraded or power washed to remove all deposits. 

4.
Patches of red rust areas shall be abraded clean and spot primed with two coats of ASTEC B-16-71 (or approved equal) for a total of 4 mils DFT (100 microns). 

5.
Fasteners shall be spot primed with two coats of ASTEC B-16-71 (or approved equal). 

X.
Ungalvanized Steel 

1.
Solvent and detergent cleaning shall be used initially to remove oil, grease and dirt in accordance with SSPC-SP1. 

2.
Corrosion products (white rust) shall be removed by lightly rubbing with an abrasive plastic pad. 

3.
New bright galvanized surfaces are to  be roughened to a dull grey appearance by light abrasion. 

4.
Fasteners shall be primed with two coats of ASTEC B-16-71 (or approved equal). 

Y.
Aluminum 

1.
Surfaces shall be clean, free of grease, oil and other contaminants in accordance with SSPC-SP1 “Solvent Cleaning”. 

2.
Loose, peeling, chalky and defective existing coating shall be removed by scraping, sanding or high pressure water blasting. 

3.
Surfaces shall be clean and dry at the time coating is applied. 

3.2 
APPLICATION AND INSPECTION INFORMATION 
Conform with ASTEC Application Specification #AC-112-9 and details attached at the end of this specification section

A.
Preliminary Work / Flashing Details: Preliminary work consists of substrate preparation (addressed earlier in specifications) and all flashing details. After completion of substrate preparation, all flashing details, horizontal and vertical seams, penetrations and curbs must be flashed with either 6" or 12" Reinforcing Fabric and Flashing Grade ASTEC WPM #9 Brush & Roll (or approved equal) in accordance with Fluid-Applied Detail Drawings. Flashing Grade must be feathered at the edges so that water can easily flow over the various flashing details. Additional flashing requirements are as follows (see also current Detail Drawings): 

1.
Fasteners: All fasteners must be totally encapsulated in Fastener Grade, Flashing Grade. In some cases, brushing may be required to obtain the proper feathering around fasteners. For fasteners found in the field of the roof (i.e., not at seams or roof penetrations). 

2.
Gutter Straps: All gutter straps that are fastened above roof panels must be totally encapsulated with Flashing Grade, including the fasteners. 

3.
Vertical Seams: 

a.
Inverted “J” Seam: In snowy climates and/or when roof leaks are suspected from this type of vertical seam, Manufacturer requires re-crimping of the short leg of the seam all the way under the horizontal portion of the inverted “J” seam. Then brush or towel apply Brush and Roll grade over the newly created single lock vertical seam. Portable seamers can be purchased or leased to do the crimping. 

b.
Ribbed: All ribbed panel vertical seams must be sealed with Flashing Grade. Feather Flashing Grade until seam is no longer visible while brushing in the direction parallel to the seam. 

c.
Standing Seam: All standing vertical seams must be sealed with a ½” bead of Flashing Grade. Feather Flashing Grade until seam is no longer visible while brushing in the direction parallel to the seam. (NOTE: This does not apply to inverted "J" standing seams - see below for details on this type of seam) Contact Manufacturer's Technical Department for details on specific standing seam panels. 

d.
Standing 'T" Seam: Both vertical seams of the standing 'T' must be flashed with a 1/2" bead of Flashing Grade brushed into the seams. vertical seam, Manufacturer requires re-crimping the short leg of the seam all the way under the 

e.
Corrugated: All corrugated panel vertical seams must be sealed with Flashing Grade. Feather Flashing Grade until seam is no longer visible while brushing in the direction parallel to the seam. 

f.
Batten: Both vertical seams of the batten must be flashed with a 1/2" bead of Flashing Grade. Feather Flashing Grade until seam is no longer visible while brushing in the direction parallel to the seam. 

4.
Horizontal Seams: All horizontal seams must be reinforced with at least a 8" wide layer of Flashing Grade, one (1) layer of Pol-E-ForceReinforcing Fabric and then a final layer of Flashing Grade to completely encapsulate the Fabric. Flashing Grade must be feathered at least 2" beyond each side of the 4" width to allow water to flow over the seam. Reinforcing Fabric must be cut around all fasteners so it lies flat and must be centered on seams. For ribbed roof panels, the Reinforcing Fabric must be applied over panel ribs in continuous lengths. A minimum 2" overlap is required for all splices in Reinforcing Fabric. (NOTE: Reinforcing Fabric is not required for horizontal seams on corrugated roofing panels. Horizontal seams must be secured with fasteners on the high side of every other corrugation spaced no more than 6" on center.) 

5. 
Cinch Straps at Panel End laps: Re-tighten cinch straps, as necessary. Surround each strap and fastener head with a bead of bead of caulk or Flashing Grade or Gutter Sealant. Fully inject Flashing Grade into the cinch strap water channel to displace all air and moisture within the channel. Then seal the entire lap, strap and fastener heads with a minimum 6" width of Flashing Grade. Feather the  Flashing Grade  to prevent ponding water at the high side of the lap. Use of Reinforcing Fabric is not required for cinch straps at panel end laps. 

6. 
Ridge Caps: Except as noted, all ridge caps must be flashed with a 6" or 12" width of Reinforcing Fabric and Flashing Grade. All voids and open areas in ridge cap must be filled with polyurethane foam prior to application of Reinforcing Fabric and Flashing Grade. (NOTE: In the case of metal "Z" closures which are located within 2" of the ridge cap edge, remove all exposed existing sealant and apply a liberal bead of Flashing Grade to all sides of the "Z" closure where they intersect with both the roof panel and ridge cap.) 

7. 
Rakes: All fixed rake details for the roof must be secured and sealed with a 6" minimum width of Flashing Grade and Reinforcing Fabric. If fixed rake metal is fastened to top of roof panel rib and extends back onto roof, trim off excess metal and follow horizontal seam flashing procedures. All voids and open areas must be filled with polyurethane foam prior to application of Reinforcing Fabric and Flashing Grade. For standing seam roof panels, contact Manufacturer's Technical Department for particulars. 

8.
Parapet Walls: All parapet wall details for the roof must be secured and sealed with a 6" minimum width of Flashing Grade and Reinforcing Fabric. If parapet wall flashing metal is fastened to top of roof panel rib and extends back onto roof, trim off excess metal and follow horizontal seam flashing procedures. All voids and open areas must be filled with polyurethane foam prior to application of Reinforcing Fabric and Flashing Grade. For standing seam roof panels, contact Manufacturer's Technical Department for particulars. 

9.
Curb Flashings: All curb flashings, including cricket details, must be flashed with at least a 6" width of Reinforcing Fabric and Flashing Grade. Encapsulate all fasteners using Flashing Grade. Do not bridge fasteners. Reinforcing Fabric must be cut around all fasteners so Fabric lies flat. 

10.  Penetrations: Flashing Grade shall be applied around base of unit extending at least 4" on vertical and 4" on base. Embed 6" width of Reinforcing Fabric using additional Flashing Grade, as necessary. Cut Reinforcing Fabric to accommodate the shape of the penetration. Both the top and bottom of neoprene pipe boots shall be flashed using Flashing Grade and Reinforcing Fabric as described above. 

11.  Skylights: Curb skylights shall be treated in the same fashion as Curb Flashings. The entire perimeter of flush-mounted skylights must be flashed with a minimum 6" width of Flashing Grade and Reinforcing Fabric.  All exposed skylight fasteners shall be encapsulated with Flashing Grade. Do not bridge fasteners. Reinforcing Fabric must be cut around all fasteners so Fabric lies fiat. After flashing work has been completed and Flashing Grade has cured, treat deteriorated fiberglass skylight panels with Skylight Treatment material. 

12.  Gutters: Trowel/brush apply Gutter Sealant to the interior or exterior gutter incorporating 6" Reinforcing Fabric at all gutter seams. Ensure gutter is completely clean and dry before applying Gutter Sealant. 

13.  Ponding Water Areas: Contact the Manufacturer's Technical Department for particulars. 

B. 
Inspect Preliminary Work / Flashing. Details for problem areas (e.g., gaps, cracks, fishmouths, air pockets, etc.) to ensure that work is complete and satisfactory. pipe boots shall be flashed using Flashing Grade and Reinforcing Fabric as described above. 

C.
Inform Project Architect and Manufacturer's Warranty Department when all preliminary work and flashing details will be complete and the Installer is ready to proceed with application of Fluid-Applied Roofing Membrane. Allow a minimum of two (2) weeks for the interim inspection to be made by the Manufacturer's Technical Department. Any final roofing installation prior to this interim inspection is subject to rejection by the Project Architect and/or the Manufacturer's Technical Department. 

D.
Coating Application(s) Warranty Requirements 

1. 
10 Yr. Manufacturer’s Product Warranty 

a.
Spray-Apply First Coat of Ceramic Fluid-Applied Roofing Membrane at a rate of 1.0 gallons per 148 square feet. First coat shall be applied parallel to the ribs of the roof panels. After the first coat is dry to the touch, inspect for defects, flaws or holidays. Correct any unsatisfactory conditions. 

b.
Spray-Apply finish Coat of Ceramic Fluid-Applied Roofing Membrane at a rate of 1.0 gallons per 148 square feet. It should not be applied unless the first coat is clean and will provide the proper adhesion. Allow a minimum 24 hours drying time prior to allowing foot traffic or inspection of roof surface. 

c. After at Least 24 Hours Has Elapsed, inspect the final roof surface for flaws, holidays, insufficient thickness, etc. Specified System membrane thickness’ are 12 to37 mils field  and 37 mills on seams and flashing details. At the completion of all work, seams should not be visible on the roof. All unsatisfactory areas must be repaired. 

2.
10 Year Manufacturer’s Turn Key Warranty (Optional) 

a. 
Spray-Apply First Coat of Ceramic Fluid-Applied Roofing Membrane at a rate of 1.0 gallon per 148 square feet. First  coat shall be applied parallel to the ribs of roof panels. After the first coat is dry to the touch, inspect  for  defects, flaws or holidays. Correct any unsatisfactory conditions. 

b. 
  Spray-Apply Finish Coat of Ceramic Fluid-Applied Roofing Membrane at a rate of 1.0 gallon per 148 square feet. Finish coat shall be applied parallel to the ribs of the roof panels. It should not be applied unless the base coat is clean and will provide proper adhesion. Allow a minimum of 24 hours drying time prior to allowing foot traffic or inspection of roof surface. 

c. 
After at Least 24 Hours Has Elapsed, inspect the final roof surface for flaws, holidays, insufficient thickness, etc. Specified System membrane thickness’ are 12 to15 mils field and 37 mils on seams and flashing details. At completion of all work, seams should not be visible on the roof. All unsatisfactory areas must be repaired. 

E.
Inform Project Architect and Manufacturer's Warranty Department when final spray application will be complete. All warranted installations of the Fluid-Applied Roofing System must be inspected upon completion by a representative from Manufacturer's Technical Department. Installer shall repair all defective work found during the final inspection. Installer shall repair all damages to roofing which has occurred subsequent to roofing installation and prior to final inspection. 

3.3 
AUXILLARY APPLICATIONS 

A.
Vapor barriers where required 

B.
Vents for pressure relief where required 

C.
Expansion joints and flashings where needed 

D.
Dry insulation where required to help control winter condensation. Any areas of wet insulation present underneath the substrate at the time of application shall b cut open to dry or be replaced with dry insulation. 

E.
Areas to be coated include all prepared and primed metal roof surfaces, ridges and ridge caps, bolts, and around penetrations. 

F.
After loose surface rust is removed, apply primer to all rusted areas in accordance with manufacturer’s directions. Damaged panels are to be replaced and or repaired as needed. 

G.
Apply roof coating by spray application in accordance with manufacturer’s directions. 

H.
The number of coats and spray film thickness required is the same regardless of the application method. Do not apply succeeding coats until previous coat has cured as recommended by coating manufacturer. 

I.
Apply additional coats when undercoats or other conditions show through the final coat until the cured film is of uniform finish, color and appearance. 

J.
Apply each material at not less than manufacturer’s recommended coverage rate. 

K.
Use mechanical method for coating application when permitted by manufacturer’s recommendations, governing ordinances, and trade union regulations. 

L.
Treatment of rust, chipped, chalking and dried up paint, and cracked caulking is required to insure proper application of the roof coating system. 

M.
Surface preparation includes priming the roof, continuous vents, flashings, ridges, penetrations, fasteners, seams, gutters and other areas of the building specified. 

N.
Seal all side laps, end laps, flashing laps, and ridge cap laps with specified caulk and elastomeric polyester cloth system sealing all holes . 

O.
Metal “Crickets” or approved build up of system will be installed on any penetrations through the roof where ponding water is evident. 

3.4 
OTHER ITEMS 

A.
Installer shall take photographs of representative roof areas, including detail work, at the following intervals (minimum): 

1.
Before work commences 

2.
After roof has been thoroughly cleaned and prepared for application of Liquid-Applied Roofing System products 

3.
After all flashing and detail work has been performed 

4.
After spray application of Liquid-Applied Roofing Membrane 

B.
Installer shall provide the following support for on-site inspections by a representative from Manufacturer's Technical Department (list is not comprehensive): 

1.
Representative from Installer's company who has authority to make binding decisions 

2.
Required means to access all areas of the treated roof (e.g., various ladders) 

3.
Previous photographs of the roof including test patch results, as applicable 

4.
Liquid-Applied products and application equipment required to repair roof areas where destructive tests are to be performed by the Manufacturer's Technical Department 

C.
Special care must be taken to avoid shading when spraying dark Fluid-Applied Roofing Membrane colors. When applying a dark Fluid-Applied Membrane color, Installer must apply a mist coat in white to cool surface and be very careful to always spray wet material on to wet material so that spray lines do not appear. Manufacturer highly recommends installation of any dark-colored finish coat by spraying two lighter coats (instead of one heavy coat) using a smaller orifice spray tip. Installer should also use the roof ribs or standing seams to terminate each spray pass. 

D.
Installer shall take special care when moving spray hoses and other equipment on the roof so that flashing work and encapsulated fastener heads are not damaged. Also, all spray equipment shall remain on the ground for the duration of the job. If there will be an extended period of time (6 months or greater) between application of base and finish coats, recommend use of white for the base coat (versus gray). Also, base coat must be thoroughly cleaned before application of the finish coat. 

E.
It is strongly recommended that walkways designed for metal roofing systems be installed in all high traffic areas. Contact Manufacturer's Technical Department for recommendations. 

3.5 
LIMITATIONS: 

A.
Coating application shall not commence during inclement weather. When precipitation appears imminent, or when freezing may occur within 24 hours. Coating shall not be applied to wet, dirty or structurally unsound surfaces. 

B.
When applying ceramic coatings to metal surfaces, it is always necessary to have a minimum amount of conductive insulation material for preventing winter time condensation. This will vary from area to area and application to application. When applying over  hot surfaces, apply a thin coat to pre-cool surface before heavier applications. 

C.
Resistance of entire roof structure to failure by wind uplift vacuum depends on deck and fastening methods. Data on these items are obtainable from their respective manufacturer’s or the Factory Mutual Guide. Generally when all of these components are installed to meet or exceed their own wind uplift ratings, then the ceramic coating membrane, being solidly adhered to its metal skin is not a limitation. 

D.
Drying Times: Listed drying times for various Fluid-Applied products are directly affected by environmental conditions and thickness of application. Additional drying time must be allowed when experiencing high relative humidity, low temperatures and/or very thick product application to prevent improper curing and/or product "wash-off'. (refer to manufacturer’s specifications) 

3.6 
CLEANING 

A.
Remove visible marking from finished areas and surfaces leaving all exposed surfaces smooth and free of imperfections. 

B.
In areas where finished surfaces are soiled by any other source caused by Work of this Section, consult manufacturer of surfaces for cleaning advice and conform to their documented instructions. 

C.
Repair or replace defaced or disfigured finishes caused by Work of this Section. 

D.
Upon completion of an area, it shall be left in a clean and orderly condition and all coating spatters, contaminated rags and debris removed. 

E.
Upon completion of the job, all surplus materials, scaffolds, etc., that relate to the job shall be removed from the site. Clean all window glass free of excess coating and spatters and remove coating that has been misplaced on other surfaces. 

3.7 
MANUFACTURER’S FIELD SERVICES 

A.
Request site attendance of roofing materials manufacturers during installation of the work. 

B.
Finished roof shall be inspected by manufacturer’s technical representative. All issues or corrective action shall be performed. Provide owner with 10 year warranty and annual on site inspections throughout the warranty period. 

3.08 ARCHITECTURAL DRAWINGS

A. PIPE OR PENETRATION DETAIL


[image: image1.jpg]REFLECGTIVE
FINISH

CoAT(S) \

N —— PROJECTION

WATERPROOF A\

\

MEMBRANE \\ \
A\ A
AN

\

METAL
UMBRELLA

JOINT TAPE
EMBEDDED IN,
SATURATED
BY, AND
COVERED WITH
WATERPROOF
MEMBRANE

\ “ SUBSTRATE

\  SURFACE
\_ CONDITIONER

OR APPLICABLE
SEALER/PRIMER

PIPE OR PROJECTION DETAIL




B. ROOF EDGE TRIM METAL DETAIL


[image: image2.jpg]REFLECTIVE
FINAL
CoAT(s)

WATERPROOF
MEMBRANE

JOINT TAPE
EMBEDDED IN,
SATURATED
BY, AND
COVERED WITH
_—~ WATERPROOF

\</'//M EMBRANE
2
/ N

S TRIM METAL

| T — NAILER

\ SURFACE CONDITIONER
OR APPLICABLE SEALER/PRIMER

RooF EDGE TRIM METAL DETAIL





CERAMIC FLUID-APPLIED ROOFING

071416 - 1

