Copyright 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 076200 - SHEET METAL FLASHING AND TRIM

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section Includes:

1. Formed Products:

a. Formed roof drainage sheet metal fabrications.

b. Formed low-slope roof sheet metal fabrications.

c. Formed equipment support flashing.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Section 07550: Modified Bitumen Membrane Roofing.
2. Section 07110: Prefabricated Fascias Copings and Expansion Joints
1.3 PERFORMANCE REQUIREMENTS

A. General:  Sheet metal flashing and trim assemblies as indicated shall withstand wind loads, structural movement, thermally induced movement, and exposure to weather without failure due to defective manufacture, fabrication, installation, or other defects in construction.  Completed sheet metal flashing and trim shall not rattle, leak, or loosen, and shall remain watertight.

B. Thermal Movements:  Provide sheet metal flashing and trim that allows for thermal movements from ambient and surface temperature changes.

Differential values (for aluminum in particular) in subparagraph below are suitable for most of the U.S.

1. Temperature Change Range:  120 deg F, ambient; 180 deg F, material surfaces.

Insert additional performance requirements below; verify system compliance with manufacturers.

1.4 SUBMITTALS

First four paragraphs below are defined in Division 01 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for each manufactured product and accessory.

B. Shop Drawings:  Show fabrication and installation layouts of sheet metal flashing and trim, including plans, elevations, expansion-joint locations, and keyed details.  Distinguish between shop- and field-assembled work.  Include the following:

1. Identification of material, thickness, weight, and finish for each item and location in Project.

2. Details for forming sheet metal flashing and trim, including profiles, shapes, seams, and dimensions.

3. Details for joining, supporting, and securing sheet metal flashing and trim, including layout of fasteners, cleats, clips, and other attachments.  Include pattern of seams.

4. Details of termination points and assemblies, including fixed points.

5. Details of expansion joints and expansion-joint covers, including showing direction of expansion and contraction.

6. Details of special conditions.

7. Details of connections to adjoining work.

C. Samples for Initial Selection:  For each type of sheet metal flashing, trim, and accessory indicated with factory-applied color finishes involving color selection.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.

D. Samples for Verification:  For each type of exposed finish required, prepared on Samples of size indicated below:

1. Accessories and Miscellaneous Materials:  Full-size Sample.

Remaining paragraphs are defined in Division 01 Section "Submittal Procedures" as "Informational Submittals."

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

E. Qualification Data:  For qualified fabricator.

F. Maintenance Data:  For sheet metal flashing, trim, and accessories to include in maintenance manuals.

G. Warranty:  Sample of special warranty.

1.5 QUALITY ASSURANCE

A. Fabricator Qualifications:  Shop that employs skilled workers who custom fabricate sheet metal flashing and trim similar to that required for this Project and whose products have a record of successful in-service performance.

If SMACNA's "Architectural Sheet Metal Manual" is not standard office practice in the area of Project, substitute another standard in first paragraph below such as "The NRCA Roofing and Waterproofing Manual."

Retain one or both of first two paragraphs below.

B. Sheet Metal Flashing and Trim Standard:  Comply with SMACNA's "Architectural Sheet Metal Manual" unless more stringent requirements are specified or shown on Drawings.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

C. Preinstallation Conference:  Conduct conference at Project site.

Retain subparagraphs below if additional requirements are necessary; include information about conference.

1. Meet with Owner, Architect, Owner's insurer if applicable, Installer, and installers whose work interfaces with or affects sheet metal flashing and trim including installers of roofing materials, roof accessories, unit skylights, and roof-mounted equipment.

2. Review methods and procedures related to sheet metal flashing and trim.

3. Examine substrate conditions for compliance with requirements, including flatness and attachment to structural members.

4. Review special roof details, roof drainage, roof penetrations, equipment curbs, and condition of other construction that will affect sheet metal flashing.

5. Document proceedings, including corrective measures and actions required, and furnish copy of record to each participant.

1.6 DELIVERY, STORAGE, AND HANDLING

A. Do not store sheet metal flashing and trim materials in contact with other materials that might cause staining, denting, or other surface damage.  Store sheet metal flashing and trim materials away from uncured concrete and masonry.

B. Protect strippable protective covering on sheet metal flashing and trim from exposure to sunlight and high humidity, except to the extent necessary for the period of sheet metal flashing and trim installation.

1.7 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

Retain this article only for coil-coated sheet metal.  Delete if metal is left uncoated or field finished.  Coordinate with finishes retained in Part 2.

A. Special Warranty on Finishes:  Manufacturer's standard form in which manufacturer agrees to repair finish or replace sheet metal flashing and trim that shows evidence of deterioration of factory-applied finishes within specified warranty period.

Verify available warranties and warranty periods for sheet metal flashing and trim finishes with manufacturers listed in Part 2 articles.  20-year or longer periods are for fluoropolymer finishes and are included with manufacturers' published data; 10-year period is usually available for siliconized polyester.  Longer periods for premium finishes may be available.

1. Finish Warranty Period: 10 years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 SHEET METALS

Finishes for sheet metals are specified with materials in this article rather than in a separate "Finishes" Article.

A. General:  Protect mechanical and other finishes on exposed surfaces from damage by applying a strippable, temporary protective film before shipping.

B. Aluminum Sheet:  ASTM B 209, alloy as standard with manufacturer for finish required, with temper as required to suit forming operations and performance required.

1. Color Anodic Finish, Coil Coated:  AAMA 611, AA-M12C22A42/A44, Class I, 0.018 mm or thicker.

a. Color: White.

b. Color Range:  Noticeable variations in same piece are not acceptable.  Variations in appearance of adjoining components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

Retain first subparagraph below for factory-coil-coated finish.

2. Exposed Coil-Coated Finishes:

Retain one of first eight subparagraphs below.  Verify availability of finishes for products specified.  If retaining more than one, indicate location of each on Drawings or by inserts.  To obtain a proprietary finish system, insert names of coating manufacturers and products.  See discussion of these finishes in the Evaluations in Division 07 Section "Metal Roof Panels."

Revise or insert additional testing requirements in first six subparagraphs below if performance levels indicated in AAMA 620 are insufficient.

a. Two-Coat Fluoropolymer:  AAMA 620.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

Finish in subparagraph below is frequently retained as a factory finish for interior surfaces of coil-coated sheet.  Usually delete for other finishes.

3. Concealed Finish:  Pretreat with manufacturer's standard white or light-colored acrylic or polyester backer finish, consisting of prime coat and wash coat with a minimum total dry film thickness of 0.5 mil .

C. General:  Provide materials and types of fasteners, solder, welding rods, protective coatings, separators, sealants, and other miscellaneous items as required for complete sheet metal flashing and trim installation and recommended by manufacturer of primary sheet metal unless otherwise indicated.

D. Fasteners:  Wood screws, annular threaded nails, self-tapping screws, self-locking rivets and bolts, and other suitable fasteners designed to withstand design loads and recommended by manufacturer of primary sheet metal..

Retain applicable materials in seven subparagraphs below.

1. General:  Blind fasteners or self-drilling screws, gasketed, with hex-washer head.

a. Exposed Fasteners:  Heads matching color of sheet metal using plastic caps or factory-applied coating.

b. Blind Fasteners:  High-strength aluminum or stainless-steel rivets suitable for metal being fastened.

2. Fasteners for Aluminum Sheet:  Aluminum or Series 300 stainless steel.

E. Sealant Tape:  Pressure-sensitive, 100 percent solids, gray polyisobutylene compound sealant tape with release-paper backing.  Provide permanently elastic, nonsag, nontoxic, nonstaining tape 1/2 inch  wide and 1/8 inch  thick.

Revise first paragraph below if sealant of specific type, grade, class, and use is required.

F. Elastomeric Sealant:  ASTM C 920, elastomeric polymer sealant; low modulus; of type, grade, class, and use classifications required to seal joints in sheet metal flashing and trim and remain watertight.

Retain first paragraph below for expansion joints with limited movement.

G. Butyl Sealant:  ASTM C 1311, single-component, solvent-release butyl rubber sealant; polyisobutylene plasticized; heavy bodied for hooked-type expansion joints with limited movement.

Retain first paragraph below if required for aluminum sheet without painted or coated finish.

H. Epoxy Seam Sealer:  Two-part, noncorrosive, aluminum seam-cementing compound, recommended by aluminum manufacturer for exterior nonmoving joints, including riveted joints.

I. Bituminous Coating:  Cold-applied asphalt emulsion complying with ASTM D 1187.

J. Asphalt Roofing Cement:  ASTM D 4586, asbestos free, of consistency required for application.

2.2 FABRICATION, GENERAL

If SMACNA's "Architectural Sheet Metal Manual" is not standard office practice in the area of Project, substitute another standard in this article such as "The NRCA Roofing and Waterproofing Manual."

A. General:  Custom fabricate sheet metal flashing and trim to comply with recommendations in SMACNA's "Architectural Sheet Metal Manual" that apply to design, dimensions, geometry, metal thickness, and other characteristics of item indicated.  Fabricate items at the shop to greatest extent possible.

1. Fabricate sheet metal flashing and trim in thickness or weight needed to comply with performance requirements, but not less than that specified for each application and metal.

2. Obtain field measurements for accurate fit before shop fabrication.

3. Form sheet metal flashing and trim without excessive oil canning, buckling, and tool marks and true to line and levels indicated, with exposed edges folded back to form hems.

4. Conceal fasteners and expansion provisions where possible.  Exposed fasteners are not allowed on faces exposed to view.

Consider retaining only one of first two paragraphs below to control fabrication tolerances.  Retain first paragraph for sophisticated or highly finished sheet metal assemblies.  Second paragraph has more lenient tolerances suitable for residential installation.

B. Fabrication Tolerances:  Fabricate sheet metal flashing and trim that is capable of installation to a tolerance of 1/4 inch in 20 feet on slope and location lines as indicated and within 1/8-inch  offset of adjoining faces and of alignment of matching profiles.

C. Fabrication Tolerances:  Fabricate sheet metal flashing and trim that is capable of installation to tolerances specified in MCA's "Guide Specification for Residential Metal Roofing."

D. Sealed Joints:  Form nonexpansion but movable joints in metal to accommodate elastomeric sealant.

E. Expansion Provisions:  Where lapped expansion provisions cannot be used, form expansion joints of intermeshing hooked flanges, not less than 1 inch deep, filled with butyl sealant concealed within joints.

F. Fabricate cleats and attachment devices from same material as accessory being anchored or from compatible, noncorrosive metal.

Retain option in first paragraph below if Project is FMG insured or if FMG requirements will set minimum installation standard.  FMG requires that cleats (hook strips) "should be at least one gauge heavier than the fascia metal."

G. Fabricate cleats and attachment devices of sizes as recommended by SMACNA's "Architectural Sheet Metal Manual" for application, but not less than thickness of metal being secured.

Retain applicable paragraphs below and revise to suit Project.

Retain one of first three paragraphs below.  Retain first for metals being soldered.  Soldering requires removal of painted, coated, or lacquered finishes.

H. Seams:  Fabricate nonmoving seams with flat-lock seams.  Tin edges to be seamed, form seams, and solder.

Retain first paragraph below for aluminum sheet and metals with painted, coated, or lacquered finishes.  If required, retain rivet option for sheet aluminum and zinc.

I. Seams:  Fabricate nonmoving seams with flat-lock seams.  Form seams and seal with elastomeric sealant unless otherwise recommended by sealant manufacturer for intended use.Rivet joints where necessary for strength.

Retain first paragraph below only for aluminum sheet without painted or coated finish.  If required, retain rivet option.

J. Seams for Aluminum:  Fabricate nonmoving seams with flat-lock seams.  Form seams and seal with epoxy seam sealer.Rivet joints where necessary for strength.

Retain paragraph below if required to prevent galvanic corrosion between graphite and aluminum or aluminum-zinc alloy-coated steel.  See the "Metal Considerations" Article in the Evaluations.

K. Do not use graphite pencils to mark metal surfaces.

2.3 ROOF DRAINAGE SHEET METAL FABRICATIONS

Retain formed items required in paragraphs in this article.  Although the most common fabrications have been included, insert descriptions of other items if required.

If SMACNA's "Architectural Sheet Metal Manual" is not standard office practice in the area of Project, substitute another standard in this article such as "The NRCA Roofing and Waterproofing Manual." Base metal thicknesses cited for zinc-tin alloy-coated stainless steel and copper and for zinc sheet, which is a European product, are from manufacturer's literature.

A. Hanging Gutters:  Fabricate to cross section indicated, complete with end pieces, outlet tubes, and other accessories as required.  Fabricate in minimum 96-inch- long sections.  Furnish flat-stock gutter spacers and gutter brackets fabricated from same metal as gutters, of size recommended by SMACNA but not less than twice the gutter thickness.  Fabricate expansion joints, expansion-joint covers,gutter bead reinforcing bars, and gutter accessories from same metal as gutters.

Gutter styles in first subparagraph below refer to SMACNA designations for shapes of formed rectangular hanging gutters.  Delete if Drawings show cross section or profile in sufficient detail.  Manufactured ogee or half-round gutter styles are specified in Division 07 Section "Roof Specialties."

1. Gutter Style:  SMACNA designation similar to existing.

Expansion-joint options in first subparagraph below are based on SMACNA designations and illustrations.  Butt type with cover plate hides the expansion joint on front and bottom sides.  Limit use of built-in gutter expansion joints to thicker metals capable of being welded.

2. Expansion Joints:  Lap type.

3. Gutters:  Fabricate from the following materials:

a. Aluminum:  0.040 inch  thick.

B. Downspouts:  Fabricate rectangular downspouts complete with mitered elbows.  Furnish with metal hangers, from same material as downspouts, and anchors.

Retain one of first three subparagraphs below.  Delete if Drawings show cross section or profile in sufficient detail.  Hanger styles in first two subparagraphs refer to SMACNA figure designations for shapes of fabricated and manufactured hangers.

1. Fabricated Hanger Style:  SMACNA figure as required.

2. Manufactured Hanger Style:  SMACNA figure as required.

3. Fabricate from the following materials:

a. Aluminum:  0.040 inch  thick.

2.4 LOW-SLOPE ROOF SHEET METAL FABRICATIONS

Retain formed items required in paragraphs in this article.  Although the most common fabrications have been included, insert descriptions of other items if required.

In addition to FMG and SMACNA, NRCA in "The NRCA Roofing and Waterproofing Manual" offers recommendations for profiles, thicknesses, fastenings, and installation of low-slope roof sheet metal fabrications. Base metal thicknesses cited for zinc-tin alloy-coated stainless steel and copper and for zinc sheet, which is a European product, are from manufacturer's literature.

A. Roof-Penetration Flashing:  Fabricate from the following materials:

1. Aluminum-Zinc Alloy-Coated Steel: 0.028 inch  thick.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, to verify actual locations, dimensions and other conditions affecting performance of the Work.

Retain first subparagraph below if retaining requirements for tolerances.

1. Verify compliance with requirements for installation tolerances of substrates.

2. Verify that substrate is sound, dry, smooth, clean, sloped for drainage, and securely anchored.

Retain first paragraph below if required.

B. For the record, prepare written report, endorsed by Installer, listing conditions detrimental to performance of the Work.

C. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION, GENERAL

A. General:  Anchor sheet metal flashing and trim and other components of the Work securely in place, with provisions for thermal and structural movement.  Use fasteners, solder, welding rods, protective coatings, separators, sealants, and other miscellaneous items as required to complete sheet metal flashing and trim system.

1. Install sheet metal flashing and trim true to line and levels indicated.  Provide uniform, neat seams with minimum exposure of solder, welds, and sealant.

2. Install sheet metal flashing and trim to fit substrates and to result in watertight performance.  Verify shapes and dimensions of surfaces to be covered before fabricating sheet metal.

3. Space cleats not more than 12 inches  apart.  Anchor each cleat with two fasteners.  Bend tabs over fasteners.

4. Install exposed sheet metal flashing and trim without excessive oil canning, buckling, and tool marks.

5. Install sealant tape where indicated.

6. Torch cutting of sheet metal flashing and trim is not permitted.

Retain subparagraph below if required to prevent galvanic corrosion between graphite and aluminum or aluminum-zinc alloy-coated steel.  See the "Metal Considerations" Article in the Evaluations.

7. Do not use graphite pencils to mark metal surfaces.

B. Metal Protection:  Where dissimilar metals will contact each other or corrosive substrates, protect against galvanic action by painting contact surfaces with bituminous coating or by other permanent separation as recommended by SMACNA.

C. Expansion Provisions:  Provide for thermal expansion of exposed flashing and trim.  Space movement joints at a maximum of 10 feet  with no joints allowed within 24 inches of corner or intersection.  Where lapped expansion provisions cannot be used or would not be sufficiently watertight, form expansion joints of intermeshing hooked flanges, not less than 1 inch deep, filled with sealant concealed within joints.

D. Fastener Sizes:  Use fasteners of sizes that will penetrate metal decking not less than recommended by fastener manufacturer to achieve maximum pull-out resistance.

E. Seal joints as shown and as required for watertight construction.

1. Where sealant-filled joints are used, embed hooked flanges of joint members not less than 1 inch into sealant.  Form joints to completely conceal sealant.  When ambient temperature at time of installation is moderate, between 40 and 70 deg F, set joint members for 50 percent movement each way.  Adjust setting proportionately for installation at higher ambient temperatures.  Do not install sealant-type joints at temperatures below 40 deg F.

Retain paragraph below if required for aluminum or zinc sheet.

F. Rivets:  Rivet joints in where indicated and where necessary for strength.

3.3 ROOF DRAINAGE SYSTEM INSTALLATION

If SMACNA's "Architectural Sheet Metal Manual" is not standard office practice in the area of Project, substitute another standard in this article such as "The NRCA Roofing and Waterproofing Manual."

A. General:  Install sheet metal roof drainage items to produce complete roof drainage system according to SMACNA recommendations and as indicated.  Coordinate installation of roof perimeter flashing with installation of roof drainage system.

B. Hanging Gutters:  Join sections with riveted and soldered joints or with lapped joints sealed with sealant.  Provide for thermal expansion.  Attach gutters at eave or fascia to firmly anchored gutter brackets spaced not more than 36 inches apart.  Provide end closures and seal watertight with sealant.  Slope to downspouts.

Retain seven subparagraphs below to suit Project.  See SMACNA's "Architectural Sheet Metal Manual" for illustrations of gutters and design recommendations.

1. Fasten gutter spacers to front and back of gutter.

2. Loosely lock straps to front gutter bead and anchor to roof deck.

3. Anchor and loosely lock back edge of gutter to continuous eave or apron flashing.

4. Anchor back of gutter that extends onto roof deck with cleats spaced not more than 24 inches  apart.

5. Install gutter with expansion joints at locations indicated, but not exceeding, 50 feet  apart.  Install expansion-joint caps.

C. Downspouts:  Join sections with 1-1/2-inch  telescoping joints.

1. Provide hangers with fasteners designed to hold downspouts securely to walls.  Locate hangers at top and bottom and at approximately 60 inches  o.c. in between.

Retain one of two subparagraphs below.

2. Provide elbows at base of downspout to direct water away from building.

3. Connect downspouts to underground drainage system indicated.

D. Expansion-Joint Covers:  Install expansion-joint covers at locations and of configuration indicated.  Lap joints a minimum of 4 inches  in direction of water flow.

Insert specific installation requirements below for other sheet metal flashing and trim items specified in this Section if required.

3.4 ERECTION TOLERANCES

Consider retaining one of two paragraphs below to control installation tolerances.  Use first paragraph for sophisticated or highly finished sheet metal assemblies.  Second paragraph has more lenient tolerances, suitable for residential installation.

A. Installation Tolerances:  Shim and align sheet metal flashing and trim within installed tolerance of 1/4 inch in 20 feet  on slope and location lines as indicated and within 1/8-inch offset of adjoining faces and of alignment of matching profiles.

B. Installation Tolerances:  Shim and align sheet metal flashing and trim within installed tolerances specified in MCA's "Guide Specification for Residential Metal Roofing."

3.5 CLEANING AND PROTECTION

Retain first paragraph below for metallic-coated steel; copper; zinc-tin alloy-coated stainless steel; zinc-tin alloy-coated copper; and zinc roofing, unless the metal is painted, coated, or lacquered.

A. Clean exposed metal surfaces of substances that interfere with uniform oxidation and weathering.

Retain first paragraph below for soldered joints.

B. Clean and neutralize flux materials.  Clean off excess solder.

C. Clean off excess sealants.

D. Remove temporary protective coverings and strippable films as sheet metal flashing and trim are installed unless otherwise indicated in manufacturer's written installation instructions.  On completion of installation, remove unused materials and clean finished surfaces.  Maintain in a clean condition during construction.

E. Replace sheet metal flashing and trim that have been damaged or that have deteriorated beyond successful repair by finish touchup or similar minor repair procedures.

END OF SECTION 076200

	SHEET METAL FLASHING AND TRIM
	076200 - 1



