554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

info@dammonengineering.com

June 8, 2023

Mr. Joe France

Building Safety Permits

P.O. Box 828

Slidell, La. 70458

Re:

Salmen High School

300 Spartan Drive

Slidell, La. 70458

Press Box Foundation

Dear Mr. France,

Tania Hahn requested that I inspect the concrete foundation located at the referenced location for a raised press box. It is being requested that I provide you with the following affidavit.

It is my professional opinion that the foundation was designed and constructed to meet the requirements of the 2021 IBC, and is structurally sufficient for the use intended.  The foundation will be used for a raised press box. The foundation was installed per the attached stamped drawing and on site pictures taken during site visits.

The inspection was performed by me and this report is true and correct to the best of my knowledge and belief.  This report shall serve as my affidavit that the foundation was erected according to provisions of International Building Code, 2021.  I hereby assume full responsibility for the compliance with all provisions of the technical code for foundations and all other pertinent laws and ordinances, as pertains to the foundation of the structure.

This report does not cover any other aspects of the building such as framing, plumbing, electrical, gas, mechanical egress, general arrangement, site drainage, etc., and assumes that ground conditions are substantially the same as is under the residence.

Sincerely,

Brian A Mistich, P.E.

La. License No.  0030187