ST. TAMMANY PARISH SCHOOL BOARD

SALMEN HIGH SCHOOL

NEW PRESS BOX

SLIDELL LA 



SECTION 323113 - CHAIN LINK FENCES
PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes chain-link fences.

1.2 PERFORMANCE REQUIREMENTS

1.3 ACTION SUBMITTALS

A. Product Data: For each type of product indicated

B. Shop Drawings: Include plans, elevations, sections, details, and attachments to other work.

1.4 INFORMATIONAL SUBMITTALS

A. Product Certificates: For each type of chain-link fence and gate, from manufacturer.

B. Product Test Reports: For framing strength according to ASTM F 1043.

C. Sample of special warranty.

1.5 CLOSEOUT SUBMITTALS

A. Operation and maintenance data.

1.6 WARRANTY

A. Special Warranty: Manufacturer's standard form in which Manufacturer agrees to repair or replace components of chain-link fences and gates that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to, deterioration of metals, metal finishes, and other materials beyond normal weathering.

2. Warranty Period: One year from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 CHAIN-LINK FENCE FABRIC

A. General: Provide fabric in one-piece heights measured between top and bottom of outer edge of selvage knuckle or twist. Comply with CLFMI Product Manual and with requirements indicated below:

1. Fabric Height: As indicated on Drawings.

2. Steel Wire Fabric: Wire with a diameter of 0.148 inch.

a. Mesh Size: 2 inches.

b. Zinc-Coated Fabric: ASTM A 392, Type II, Class 2, 2.0 oz./sq. ft with zinc coating.

3. Selvage: Knuckled at both selvages.

2.2 FENCE FRAMING

A. Posts and Rails: Comply with ASTM F 1043 for framing, including rails, braces, and line; terminal; and corner posts. Provide members with minimum dimensions and wall thickness according to ASTM F 1043 based on the following:

1. Fence Height: As indicated on Drawings.

2. Horizontal Framework Members: Intermediate, top and bottom rails complying with ASTM F 1043.

3. Brace Rails: Comply with ASTM F 1043.

4. Metallic Coating for Steel Framing:

a. Type A zinc coating.

b. Type B zinc with organic overcoat.

c. External, Type B zinc with organic overcoat and internal, Type D zinc-pigmented coating.

d. Type C, Zn-5-Al-MM alloy coating.

e. Coatings: Any coating above.

2.3 TENSION WIRE

A. Metallic-Coated Steel Wire: 0.177-inch diameter, marcelled tension wire complying with ASTM A 817 and ASTM A 824, with the following metallic coating:

1. Type III, Zn-5-Al-MM alloy with minimum coating weight matching chain-link fabric coating weight

2.4 FITTINGS

A. General: Comply with ASTM F 626.

B. Finish:

1. Metallic Coating for Pressed Steel or Cast Iron: Not less than 1.2 oz. /sq. ft. zinc.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. Examine areas and conditions, with Installer present, for compliance with requirements for site clearing, earthwork, pavement work, and other conditions affecting performance of the Work.

B. Proceed with installation only after unsatisfactory conditions have been corrected.

C. Install chain-link fencing to comply with ASTM F 567 and more stringent requirements indicated.

D. Terminal Posts: Locate terminal end, corner, and gate posts per ASTM F 567 and terminal pull posts at changes in horizontal or vertical alignment of 15 degrees or more.
E. Line Posts: Space line posts uniformly as shown on drawings.
F. Tension Wire: Install according to ASTM F 567, maintaining plumb position and alignment of fencing. Provide horizontal tension wire at the following locations:

1. Extended along bottom of fence fabric.

G. Chain-Link Fabric: Apply fabric to inside of enclosing framework. Leave 2 inches between finish grade or surface and bottom selvage unless otherwise indicated.

END OF SECTION 323113

	CHAIN LINK FENCES 
	323113 - 1



