Notice of Addendum #01 – 12/7/2023

PROJECT:			Cafetorium HVAC Replacement

Sixth Ward Elementary School

72360 La-41

Pearl River, La. 70452

PROJECT NO.:		STPSB PROJECT NO. PO427

FROM:			DAMMON ENGINEERING

554 Old Spanish Trail

Slidell, LA  70458

(985) 649-5832

TO:			All on Record Holding Quoting Documents

This Addendum forms a part of the Contract Documents and modifies the original Quoting Documents dated 11/8/2023.  The contents of this Addendum shall be included in the Contract Documents when the Agreement is executed.  Changes made by this Addendum take precedence over the Documents of earlier date.

Acknowledge receipt of this Addendum in the space provided on the Quote Form.

GENERAL

The addendum is to be distributed to registered Plan Holders via email.

General Questions

The following questions were submitted by [Contractor] on [date].  Answers are in bold.

- CU-2B looks like it has been recently replaced; is it to remain?

CU-2B is to be removed and prepared for shipment.  Notify the STPSB maintenance when it has been prepared for shipment.

- What is needed to visit the site?

It is highly recommended that all contractors visit the site prior to Quote.  All that is needed is to visit the reception and sign in.

THE ADDENDUM No. 01 CONSISTS OF:

Addendum Cover and Narrative, One (1) typed page,

for a total of One (1) DOCUMENT SHEETS

All planholders must acknowledge receipt of this addendum via email.