## Sheet1
ITEM # | Description |  |  | Units | Expense | Estimate Amount Units |  | Extended Cost
1 | Mobilization |  |  | LS | 15000 | 1 |  | 15000
2 | Electrical System for Service From Utility Company |  |  | LS | 15000 | 1 |  | 15000
|  | Sub-Total | [5 empty] | 30000
3 | Boring/Drilling and Install | 4" | Conduit | Ft | 30 | 420 |  | 15409.8
4 | Boring/Drilling and Install | 1-1/4" | Conduit | Ft F2 | 25 | 38 |  | 1161.85
5 | Boring/Drilling and Install | 1" | Conduit | Ft F1 | 18 | 210 |  | 3780
6 | Boring/Drilling and Install | 1-1/2" | Conduit | Ft F4 | 25 | 312 |  | 7800
7 | Boring/Drilling and Install | 1" | Conduit | Ft F3 | 18 | 210 |  | 3780
|  | Sub-Total Sub-Surface Boring | [5 empty] | 31931.65
8 | Supply and Install Wire | #10 Gnd |  | Ft | 3.63 | 962.5 |  | 3493.875
9 | Supply and Install Wire | #12 | Remote | Ft | 0.8 | 100 |  | 80
10 | Supply and Install Wire | #8 | F2 | Ft | 4.4 | 95 |  | 418
11 | Supply and Install Wire | #6 | F1 | Ft | 3 | 1240 |  | 3720
12 | Supply and Install Wire | #4 | F4 | Ft | 4.2 | 780 |  | 3276
13 | Supply and Install Wire | #2 | F3 | Ft | 6 | 1305 |  | 7830
|  | Sub-Total Sub-Surface Wiring | [5 empty] | 18817.875
14 | 240V Single Phase 200 Amp Meter Pan |  |  | Ea | 750 | 1 |  | 750
15 | 240V Single Phase 200 Amp Panelboard; 30 Poles with M/B |  |  | Ea | 1200 | 1 |  | 1200
16 | 6x6 Wood Post; Meter Pan and Panelboard Supports |  |  | Ea | 100 | 2 |  | 200
17 | UnitStrut; 10 ft Length |  |  | Ea | 104 | 2 |  | 208
|  | Sub-Total Service Entrance | [5 empty] | 2358
18 | 80ft Class B Lighting Poles |  |  | Ft | 45 | 320 |  | 14400
19 | Install Lighting Poles |  |  | Ea | 7500 | 4 |  | 30000
|  | Sub-Total Poles | [5 empty] | 44400
20 | Lighting Package |  |  |  |  | 1 |  | 55000
21 | Install Lighting Package |  |  | Ea | 3000 | 4 |  | 12000
|  | Sub-Total Poles | [5 empty] | 67000
[7 empty] | SubTotal: | 194507.525
22 | Permit & Impact Fees | [6 empty] | 1000
23 | Taxes |  |  |  |  | 8.75% |  | 15706.9084
24 | Bonding |  |  |  |  | 2.5% |  | 4862.6881
[7 empty] | Grand Total: | 216077.1216
[7 empty] | Total with 25% contingency: | 270096.402

## Sheet2
Minimum Velocity should be 6 fps
Using a 4" HDPE Pipe
Flow gpm | Velociy fps | Loss/100ft | Length of Run ft | Ft HeadLoss
300 | 7.6 | 6.1 | 22176 | 1352.736
600 | 6.7 | 3.1 | 22176 | 687.456