## Sheet1
ITEM # | Description |  |  | Units | Expense | Estimate Amount Units |  | Extended Cost
1 | Mobilization |  |  | LS | 15000 | 1 |  | 15000
2 | Electrical System for Service From Utility Company |  |  | LS | 15000 | 1 |  | 15000
|  | Sub-Total | [5 empty] | 30000
3 | Boring/Drilling and Install | 4" | Conduit | Ft | 30 | 420 |  | 15409.8
4 | Boring/Drilling and Install | 1" | Conduit | Ft F2 | 18 | 38 |  | 836.532
5 | Boring/Drilling and Install | 1" | Conduit | Ft F1 | 18 | 210 |  | 3780
6 | Boring/Drilling and Install | 1" | Conduit | Ft F4 | 18 | 312 |  | 5616
7 | Boring/Drilling and Install | 1" | Conduit | Ft F3 | 18 | 210 |  | 3780
|  | Sub-Total Sub-Surface Boring | [5 empty] | 29422.332
8 | Supply and Install Wire | #12 Gnd |  | Ft | 0.8 | 962.5 |  | 770
9 | Supply and Install Wire | #12 | Remote | Ft | 0.8 | 100 |  | 80
10 | Supply and Install Wire | #12 | F2 | Ft | 0.8 | 95 |  | 76
11 | Supply and Install Wire | #12 | F1 | Ft | 0.8 | 1240 |  | 992
12 | Supply and Install Wire | #10 | F4 | Ft | 1.25 | 780 |  | 975
13 | Supply and Install Wire | #8 | F3 | Ft | 4.4 | 1305 |  | 5742
|  | Sub-Total Sub-Surface Wiring | [5 empty] | 8635
14 | 480V Three Phase Disconnect |  |  | Ea | 1000 | 1 |  | 1000
15 | 480V Three Phase 200 Amp Meter Pan |  |  | Ea | 1000 | 1 |  | 1000
16 | 480V Single Three 200 Amp Panelboard; 30 Poles with M/B |  |  | Ea | 2000 | 1 |  | 2000
17 | 6x6 Wood Post; Meter Pan and Panelboard Supports |  |  | Ea | 100 | 2 |  | 200
18 | UnitStrut; 10 ft Length |  |  | Ea | 104 | 2 |  | 208
|  | Sub-Total Service Entrance | [5 empty] | 4408
18 | 80ft Class B Lighting Poles |  |  | Ft | 45 | 320 |  | 14400
19 | Install Lighting Poles |  |  | Ea | 7500 | 4 |  | 30000
|  | Sub-Total Poles | [5 empty] | 44400
20 | Lighting Package | [6 empty] | 55000
21 | Install Lighting Package |  |  | Ea | 3000 | 4 |  | 12000
|  | Sub-Total Poles | [5 empty] | 67000
[7 empty] | SubTotal: | 183865.332
10 | Permit & Impact Fees | [6 empty] | 1000
| Taxes |  |  |  |  | 8.75% |  | 16088.2165
| Bonding |  |  |  |  | 2.5% |  | 4596.6333
[7 empty] | Grand Total: | 205550.1818
[7 empty] | Total with 25% contingency: | 256937.7273

## Sheet2
Minimum Velocity should be 6 fps
Using a 4" HDPE Pipe
Flow gpm | Velociy fps | Loss/100ft | Length of Run ft | Ft HeadLoss
300 | 7.6 | 6.1 | 22176 | 1352.736
600 | 6.7 | 3.1 | 22176 | 687.456