ST. TAMMANY PARISH SCHOOL BOARD

PEARL RIVER HIGH SCHOOL

SOCCER FIELD LIGHTING

PEARL RIVER LA


SECTION 01 77 00
CLOSEOUT PROCEDURES
PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes administrative and procedural requirements for contract closeout, including, but not limited to, the following:

1. Substantial Completion procedures preceding the Recommendation of Acceptance.

2. Final completion procedures.

3. Warranties.

4. Final cleaning.

5. Repair of the Work.

1.2 ACTION SUBMITTALS

A. Contractor's List of Incomplete Items: Initial submittal at time of Substantial Completion.

B. Certified List of Incomplete Items: Final submittal at Recommendation of Acceptance.

1.3 CLOSEOUT SUBMITTALS

A. Certificates of Release: From authorities having jurisdiction.

B. Certificate of Insurance: For continuing coverage.

1.4 MAINTENANCE MATERIAL SUBMITTALS

A. Schedule of Maintenance Material Items: Contractor to provide four (4) copies of binders containing maintenance and warranty information.
1.5 SUBSTANTIAL COMPLETION PROCEDURES PRECEDING THE RECOMMENDATION OF ACCEPTANCE
A. Contractor's List of Incomplete Items: Prepare and submit a preliminary list of items to be completed and corrected (Contractor's Preliminary Punch List).

B. Submittals Prior to Substantial Completion: Complete the following a minimum of ten (10)  days prior to requesting inspection for determining date of Recommendation of Acceptance. List items below that are incomplete at time of request.

1. Certificates of Release: Obtain and submit releases from authorities having jurisdiction permitting Owner unrestricted use of the Work and access to services and utilities. Include occupancy permits, operating certificates, and similar releases.

2. Submit closeout submittals specified in other Division 01 Sections, including project record documents, operation and maintenance manuals, final completion construction photographic documentation, damage or settlement surveys, property surveys, and similar final record information.

3. Submit closeout submittals specified in individual Sections, including specific warranties, workmanship bonds, final certifications, and similar documents.

4. Submit maintenance material submittals specified in individual Sections, including tools, spare parts, extra materials, and similar items, and deliver to location designated by Engineer.  Label with manufacturer's name and model number where applicable.

a. Schedule of Maintenance Material Items: Prepare and submit schedule of maintenance material submittal items, including name and quantity of each item and name and number of related Specification Section. Obtain Engineer’s signature for receipt of submittals.

5. Submit test/adjust records.

6. Submit changeover information related to Owner's occupancy, use, operation, and maintenance.

C. Procedures Prior to Substantial Completion: Complete the following a minimum of ten (10)  days prior to requesting inspection for determining date of Recommendation of Acceptance. List items below that are incomplete at time of request.

1. Advise Owner through Designer of pending insurance changeover requirements.

2. Complete startup and testing of systems and equipment.

3. Perform preventive maintenance on equipment used prior to Substantial Completion.

4. Instruct User's personnel in operation, adjustment, and maintenance of products, equipment, and systems. 
5. Advise Owner through Designer of any changeover in utilities.

6. Terminate and remove temporary facilities from Project site, along with construction tools and similar elements.
7. Complete final cleaning requirements, including touchup painting.

8. Touch up and otherwise repair and restore marred exposed finishes to eliminate visual defects.

D. Inspection: Submit a written request for inspection to determine Recommendation of Acceptance a minimum of ten (10) days prior to date the work will be completed and ready for final inspection and tests. On receipt of request, Engineer will either proceed with inspection or notify Contractor of unfulfilled requirements. Engineer will prepare the Recommendation of Acceptance after inspection or will notify Contractor of items, either on Contractor's list or additional items identified by Engineer, that must be completed or corrected before certificate will be issued.

1. Reinspection: Request reinspection when the Work identified in previous inspections as incomplete is completed or corrected.

2. Results of completed inspection will form the basis of requirements for final completion.

1.6 FINAL COMPLETION PROCEDURES

A. Preliminary Procedures: Before requesting final inspection for determining final completion, complete the following:

1. Submit a final Application for Payment according to Section 01 29 00 "Payment Procedures."

2. Certified List of Incomplete Items: Submit certified copy of Engineer's Substantial Completion inspection list of items to be completed or corrected (punch list), endorsed and dated by Engineer. Certified copy of the list shall state that each item has been completed or otherwise resolved for acceptance.  Designer will verify.
3. Certificate of Insurance: Submit evidence of final, continuing insurance coverage complying with insurance requirements.

4. Instruct User's personnel in operation, adjustment, and maintenance of products, equipment, and systems.
B. Inspection: Submit a written request for final inspection to determine acceptance. On receipt of request, Engineer will either proceed with inspection or notify Contractor of unfulfilled requirements. Engineer will prepare a final Certificate for Payment after inspection or will notify Contractor of construction that must be completed or corrected before certificate will be issued.

1. Reinspection: Request reinspection when the Work identified in previous inspections as incomplete is completed or corrected.

1.7 PRELIMINARY LIST OF INCOMPLETE ITEMS (PUNCH LIST)

A. Organization of List: Include name and identification of each item needing correction including, if necessary, areas disturbed by Contractor that are outside the limits of construction.
1. Submit preliminary list of incomplete items in PDF electronic file format.
2. Designer will prepare final punch list.

1.8 SUBMITTAL OF PROJECT WARRANTIES

A. Time of Submittal: Submit written warranties on request of Engineer for designated portions of the Work where commencement of warranties other than date of Recommendation of Acceptance is indicated, or when delay in submittal of warranties might limit Owner's rights under warranty.

B. Organize warranty documents into an orderly sequence based on the table of contents of the Project Manual.

1. Bind warranties and bonds in heavy-duty, three-ring, vinyl-covered, loose-leaf binders, thickness as necessary to accommodate contents, and sized to receive 8-1/2-by-11-inch paper.

2. Provide heavy paper dividers with plastic-covered tabs for each separate warranty. Mark tab to identify the product or installation. Provide a typed description of the product or installation, including the name of the product and the name, address, and telephone number of Installer.

3. Identify each binder on the front and spine with the typed or printed title "WARRANTIES," Project name, and name of Contractor.

4. Warranty Electronic File: Scan warranties and bonds and assemble complete warranty and bond submittal package into a single indexed electronic PDF file with links enabling navigation to each item. Provide bookmarked table of contents at beginning of document.

C. Provide additional copies of each warranty to include in operation and maintenance manuals, to be submitted in triplicate.

PART 2 -  PRODUCTS

2.1 MATERIALS

A. Cleaning Agents: Use cleaning materials and agents recommended by manufacturer or fabricator of the surface to be cleaned. Do not use cleaning agents that are potentially hazardous to health or property or that might damage finished surfaces.

PART 3 -  EXECUTION

3.1 FINAL CLEANING

A. General: Perform final cleaning. Conduct cleaning and waste-removal operations to comply with local laws and ordinances and Federal and local environmental and antipollution regulations.

1. Clean exposed surfaces.

a. HEPA vacuum all surfaces.

b. Damp wipe all non-porous exposed surfaces including polyethylene sheets used to protect materials, external surfaces of ductwork, studs, and floors with clean rag and clean potable water or detergent solution.

c. Remove any poly sheeting protecting desks or equipment and HEPA vacuum all surfaces protected by poly sheeting.

d. Damp wipe non-porous surfaces protected by poly sheeting with clean water or a detergent solution.

B. Cleaning: Employ experienced workers or professional cleaners for final cleaning. Clean each surface or unit to condition expected in an average commercial building cleaning and maintenance program. Comply with manufacturer's written instructions.

1. Complete the following cleaning operations before requesting inspection for Recommendation of Acceptance for entire Project or for a designated portion of Project:

a. Clean Project site, yard, and grounds, in areas disturbed by construction activities, including landscape development areas, of rubbish, waste material, litter, and other foreign substances.

b. Sweep paved areas broom clean. Remove petrochemical spills, stains, and other foreign deposits.

c. Rake grounds that are neither planted nor paved to a smooth, even-textured surface.

d. Remove tools, construction equipment, machinery, and surplus material from Project site.

e. Remove debris and surface dust from limited access spaces, including roofs, plenums, shafts, trenches, equipment vaults, manholes, attics, and similar spaces.

f. Remove labels that are not permanent.

g. Wipe surfaces of mechanical and electrical equipment if any and similar equipment. Remove excess lubrication, paint and mortar droppings, and other foreign substances.

h. Clean plumbing fixtures to a sanitary condition, free of stains, including stains resulting from water exposure.

i. Leave Project clean and ready for occupancy.

3.2 REPAIR OF THE WORK

A. Complete repair and restoration operations before requesting inspection for determination of Recommendation of Acceptance.

B. Repair or remove and replace defective construction. Repairing includes replacing defective parts, refinishing damaged surfaces, touching up with matching materials, and properly adjusting operating equipment. Where damaged or worn items cannot be repaired or restored, provide replacements. Remove and replace operating components that cannot be repaired. Restore damaged construction and permanent facilities used during construction to specified condition.

1. Remove and replace chipped, scratched, and broken glass, reflective surfaces, and other damaged transparent materials.

2. Touch up and otherwise repair and restore marred or exposed finishes and surfaces. Replace finishes and surfaces that that already show evidence of repair or restoration.

a. Do not paint over "UL" and other required labels and identification, including mechanical and electrical nameplates. Remove paint applied to required labels and identification.

3. Replace parts subject to operating conditions during construction that may impede operation or reduce longevity.

3.3 
UNIT PRICES

A. 
The measurement for payment to Provide Final Cleanup will be per square foot.
B.  
Payment will be made at the contract price to Provide Final Cleanup for this scheduled item.  Payment will constitute full compensation for furnishing all materials, equipment, tools, all labor and other incidentals necessary to complete the Final Cleanup.
END OF SECTION 01 77 00
	CLOSEOUT PROCEDURES
	01 77 00 - 2



