554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

dammoneng@bellsouth.net

# Structural Inspection

August 11, 2014

For: 	Mr. Robert Scogin

57535 Pichon Road

Slidell, LA

Construction:

Two-story, concrete/wood frame, brick veneer, composition shingle roof on a conventional foundation.

Scope:

This inspection is limited to a visual inspection of the shell of the home, including the interior and exterior foundation of the residence. No Inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers

And is not an explanation of cause, effect, or engineering.

History:

Mike Breeding contacted Dammon Engineering to request a structural inspection of the referenced home due to concerns from a home inspection report that noted termite wings.

Findings:

Upon inspection, it was noted that termite wings were present in the garage attic and no live activity was noted.

Conclusion:

It is my opinion that the home is structural sound.

Sincerely,

Brian Mistich, P.E.