DAMMON ENGINEERING, INC.

dammonengineering.com

ARCHITECTS					ENGINEERS

CONSULTING		DESIGN		STUDIES		EXPERT WITNESS

1095 Florida Ave.				   P.O. Box 2830				     985-649-5832

Slidell, LA 70458				Slidell, LA  70459			            FAX 985-641-5950

July 1, 2010

City of Sulphur, Fire Dept.

Sulphur Fire Dept. Chief Inspector – Keith Berry

Sulphur Fire Dept. Inspector – Robert Schexneider

Sulphur Electrical Inspector – Pat Bergeron

Attn:	Director

RE:	Swimming Pool Constructed at

Home of Ray Wardle

3609 Collette

Sulphur, Louisiana 70663

By Aquatic Pools & Spas

Gentlemen:

The undersigned is a Professional Engineer, duly licensed by the State of Louisiana.  In the capacity as a licensed engineer, the undersigned hereby represents, warrants and certifies to the City of Sulphur and Sulphur Fire Department, as follows:

- That I am familiar with and knowledgeable of the swimming pool constructed at 3609 Collette St., (the “Pool”); and

- That I have reviewed the construction plans and drawings for the Pool, including buy not limited to the metal bonding plan; and

- That I have reviewed the construction of the Pool or have conducted independent investigations with respect to the construction of the Pool necessary to formulate the opinions set forth herein; and

- That it is my professional opinion, as an engineer licensed by the State of Louisiana that construction of the Pool, including but not limited to the bonding systems for the Pool have been constructed and installed in accordance with the requirements of the National Electrical Code (as of the date hereof) and fully comply with the requirements of the National Electrical Codes (as of the date hereof).

In delivering the foregoing statements and opinions, the undersigned acknowledges and agrees that the City of Sulphur and the Sulphur Fire Department shall rely upon such statements and opinions in connection with the issuance of a final inspection or approval with respect to the Pool and that the City of Sulphur and the Sulphur Fire Department would not have issued, such final inspection or approvals without the material inducement of the statements and opinions of the undersigned made herein.

Sincerely,

Printed Name:	Emmett G. (Pete) Dammon, P.E.

State of Louisiana License No.:8790