January 4, 2007
Mr. John Cramer

City of Slidell

P.O. Box 828

Slidell, Louisiana  70459

RE:
Sun Valley Apts.
Dear Mr. Cramer,

Mr. Brian Reine contacted Dammon Engineering, Inc. with regard to the above referenced project.  He informed me that the contractor is using a 1-1/2” air gap in the partition walls separating the dwelling units instead of a 1” air gap as called out in the plans.  This will allow the use of (2) 2x4 top plates with fireblocking, instead of the original solid 8.5” top plate.
He asked that I review and approve this modification and write the required letter to your office indicating the same.
Upon review of the plans and the modification to air gap width, I believe the alteration to be adequate and acceptable for this project.

If you have any questions, or require any further information, please feel free to call.
Sincerely,

Chuck Dammon
