
SECTION 15010PRIVATE 

BASIC MECHANICAL REQUIREMENTS

PART 1   GENERAL


1.01

SECTION INCLUDES

A. Basic Mechanical Requirements specifically applicable to Division 15 Sections, in addition to Division 1 ‑ General Requirements.



B.
Reference to General Conditions.


1.02

WORK BY OWNER





None


1.03

OWNER FURNISHED PRODUCTS





None


1.04

WORK SEQUENCE



A.
Install work in a manner to accommodate Owner's occupancy requirements during the construction period coordinate mechanical schedule and operations with Owner.





1.05

FUTURE WORK





Not Used


1.06

ALLOWANCES





Not Used


1.07

ALTERNATES



A.
Alternates quoted on Bid Forms will be reviewed and accepted or rejected at the Owner's option.  Accepted Alternates will be identified in Owner‑Contractor Agreement.



B.
Coordinate related work and modify surrounding work as required.



C.
Schedule of Alternates:  See Bid document


1.08 
SUBMITTALS



A.
Submit under provisions of Section 01300.



B.
proposed Products List: See drawings



C.
Submit shop drawings and product data grouped to include complete submittals of related systems, products, and accessories in a single submittal.



D.
Mark dimensions and values in units to match those specified.


1.09 
REGULATORY REQUIREMENTS



A.
Conform to International Building Code (2006 Edition) & International Mechanical Code (2006) & Louisiana State Plumbing Code (2000).


B.
Fire Protection: Conform to NFPA.



C.
Plumbing: Conform to City of New Orleans plumbing code.



D.
Obtain permits, and request inspections from City of New Orleans.


1.10
PROJECT/SITE CONDITIONS



A.
Install Work in locations shown on Drawings, unless prevented by Project conditions.



B.
Prepare drawings showing proposed rearrangement of Work to meet Project conditions, including changes to Work specified in other Sections.  Obtain permission of Engineer before proceeding.


1.11
SEQUENCING AND SCHEDULING



A.
Prepare contractor work schedule for 1st project meeting.


END OF SECTION

PAGE  
08112.13 / Crosswinds Apartments 
15010 - 1 
BASIC MECHANICAL REQUIREMENTS 

