SECTION 15990PRIVATE 

TESTING, ADJUSTING, AND BALANCING

seq level0 \h \r0 

seq level1 \h \r0 

seq level2 \h \r0 

seq level3 \h \r0 

seq level4 \h \r0 

seq level5 \h \r0 

seq level6 \h \r0 

seq level7 \h \r0 PART 1   GENERAL

1.01
Section includes test and balance procedures.
1.02
Related Sections

A. Section 15890, Ductwork

B. Section 15935, Air Outlets and Inlets

1.03
References

A. Associated Air Balance Council.

1.04
Submittals

A. Submit under provisions of Section 01300.

1.05
System Balance

A. Total System Balance is process of testing, adjusting, and balancing the heating, ventilation and air conditioning (HVAC) systems and subsystems to perform at the design intent and operate at an optimum level.  Perform methodical approach to test and balance all systems to their optimal performance.

During the construction stage, make field observation reports, review submitted data, and prepare for the testing and balancing phase.  After the equipment start-up has been performed, and all systems are operational (including clean filters being installed, diffusers and grilles installed, all control components 100% operational, etc.) begin the TAB phase.  During testing and balancing, test and balance each system and subsystem, including the control system, and document the results of each test.  If acceptable performance cannot be achieved because of system or construction deficiencies, document test data in writing to the appropriate responsible parties, so that corrective action can be taken.  Following the completion of test and balance field services, a test and balance report shall be submitted to the engineer and project owner.

The final report shall be a complete record of the HVAC system performance, including conditions of operation, items outstanding, and any deviations found during the process.  The final report also provides a reference of actual operating conditions for the owner and/or service personnel.

Test and balance services should be performed by trained professionals with the technical expertise to perform these services, and knowledge of HVAC systems and components in order to identify and troubleshoot problems that could impact balanceability of the system

END OF SECTION


08112.13 / Crosswinds Apartments 
15990 - 1 
TESTING, ADJUSTING AND BALANCING

