SAP Inc.

Gwen Smith

424 N. Hamilton Street

Brookhaven, MS. 39602

We were asked by Gwen Smith to inspect a two story brick building with basements Approx. 30,000.00 sq.ft. The building is approximately 40+ years old and was used as a hospital.

Wing “A”

This wing is two stories with a basement and stairs, and is constructed of concrete and brick. Located in the basement are the hot water heater (New) and a natural gas generator. The generator appeared to be in good shape, it would need to be maintained. The basement apparently was the laundry room and maintained room. The exterior of the bldg. is in good shape with the exception of some damaged gutters. The roof is a flat roof and had leaks prior to this inspection, but has recently been repaired. The exterior of the bldg. needs to be pressure washed and any framing for the windows and doors need to be painted. There are several window units for this wing; all need to be serviced. This wing also has an elevator that will need to be serviced and brought up to code. There are a number of bathrooms for this wing but doesn’t meet current code. The walls and ceilings are painted and show signs of wear and tear, they need to be repainted. The flooring consisted of vinyl/carpet and painted concrete, all these floor coverings need to repaired or replaced. The majority of the light fixtures work, but most of the bulbs were burned out. The roof is a 

Wing “B”

This wing is two stories with a basement and stairs, and is constructed of concrete and brick. Located in the basement is the hot water heater, which is new. This basement evidently was a maintenance room. This wing also has a kitchen. The overall exterior of the bldg. is in good shape with the exception of some brick façade that is loose near the entrance door; also some gutters are damaged. The exterior of the bldg. needs to be pressure washed and any framing for the windows and doors need to be painted. The roof is a flat roof and had leaks prior to this inspection, but has recently been repaired. This wing has central air and heat, all need to be serviced. This wing also has an elevator that will need to be serviced and brought up to code. There are a number of bathrooms for this wing that doesn’t meet current code. The walls and ceilings are painted and show signs of wear and tear, they need to be repainted. The flooring consisted of vinyl/carpet and painted concrete, all these floor coverings need to repaired or replaced. The majority of the light fixtures work, but most of the bulbs were burned out.

Wing “C”

This wing is one story with no basement, and is constructed of wood/frame brick. The overall exterior of the bldg. is in good shape with the exception of some rotten facia and soffit; also some gutters are damaged. The exterior of the bldg. needs to be pressure washed and any framing for the windows and doors need to be painted. The roof is a flat roof and had leaks prior to this inspection, but has recently been repaired. This wing has central air and heat, all need to be serviced. There are a number of bathrooms for this wing that doesn’t meet current code. There are drop ceilings in this wing that are damaged due to the roof leaking. The majority of these lights work, but most of the bulbs are burned out. The walls are painted and show signs of wear and tear, they need to be repainted. The flooring consisted of vinyl/carpet and painted concrete, all these floor coverings need to repaired or replaced. 

Wing “D”

This wing is one story with no basement, and is constructed of wood/frame brick. This bldg. is sprinkled with an alarm. The overall exterior of the bldg. is in good shape with the exception of some rotten facia and soffit; also some gutters are damaged. The exterior of the bldg. needs to be pressure washed and any framing for the windows and doors need to be painted. The roof is a flat roof and had leaks prior to this inspection, but has recently been repaired. This wing has central air and heat, all need to be serviced. There are a number of bathrooms in this wing that doesn’t meet current code. There are drop ceilings in this wing that are damaged due to the roof leaking. The majority of these lights work, but most of the bulbs are burned out. The walls are painted and show signs of wear and tear, they need to be repainted. The flooring consisted of vinyl/carpet which need to repaired or replaced. 

