DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

September 14, 2007

State of Louisiana

Department of Public Safety and Corrections

Office of State Fire Marshall Code Enforcement and Building Safety

8181 Independence Boulevard

Baton Rouge, La. 70806

Attn: Otis Ramke

RE: Starlight Missionary Sanctuary

       2100 Second Street

       Slidell, La. 70458            

Mr. Ramke,

      The owner has decided not to build the 2nd floor balcony and stairs due to financing. The rating on the exterior wall on the north front and north sidewall will not be rated due it being over the 10’ distance rule. The interior storage closet shall have a rated ceiling using RC 2601 (two layers of 5/8” type “X” sheet rock).

Please call me with any question you may have.

Chuck Dammon 

Dammon Engineering

