September 30, 2004

Mr. Don Audibert

Design Contractors

1402 Corporate Square Blvd.

Slidell, LA  70458

RE:
Addendum #1
Starlight Missionary Baptist Church


Fellowship Building

Dear Mr. Audibert,

The following changes have been made to the referenced project.

· Drawing A-2 - second floor shows a window (D) to be fire rated.  Change this to a non-rated window.

· The window schedule drawing calls out for 3x6 windows.  Change these to 3x5. This will allow all the proper trim heights.

· Drawing A-1 - the corridor between the existing and new fellowship hall does not show windows in the corridor.  The elevations on sheet A-6 show that there are windows.  These 3x5 windows shall be installed by the contractor.

· The original plan was to match the existing wooden front doors of the church.  The doors can be changed to metal due to the fact that a metal door will not expand and contract and will not need adjusting with changes in weather.

Please make the necessary adjustments to incorporate these changes.  If you have any questions, or require any further information, please don’t hesitate to call.

Sincerely,

Chuck Dammon

VP/Project Manager
cc:
Starlight Missionary Baptist Church
