August 23, 2007

Mr. James Waite

State of Louisiana

Office of State Fire Marshal 

8181 Independence Boulevard

Baton Rouge, Louisiana 70806

RE: PO329265

       Aldersgate United Methodist Church

       360 Robert Road

       Slidell, La. 70458

Dear Mr. Waite,
We have reclassified the bldg to be all assembly group A-3. We have revised all the drawings to show all metal construction. This is a Sunday school with a gymnasium. When the kids are in Sunday school no one will be using the gym. When the gym is active the Sunday school rooms will be empty. All items have been addressed. Please review the revised drawings. Also, please note that Mr. Robert Sollberger is the new professional of record.

Please call me with any question you may have.
Sincerely,

Chuck Dammon 

VP/Project Manager

Attachment:

Copy of Fire Marshal review, P0329265

