DAMMON ENGINEERING, INC.
dammonengineering.com
ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

January 23, 2009

Mr. Otis Ramke

State of Louisiana Office of State Fire Marshal

8181 Independence Blvd.

Baton Rouge, Louisiana 70806

RE:
PO337906

Lakeshore Church

Brewster Road

            Covington, La. 70433

Dear Mr. Ramke,
The pastor for Lakeshore Church, Pastor Bryan Bilac, is requesting approval to eliminate the need for Fire Alarm and Smoke Detection for the above referenced project.
Pastor Bilac has determined that occupancy will not exceed two hundred at any given time and a doorman will be posted at the entrance with a manual counter to verify compliance with this request.
There will be no schooling or daycare at this facility, per Pastor Bilac and he shall post a placard at the entrance specifying the total occupancy allowed.   

If you have any questions, or require any additional information, please feel free to call.
Sincerely,

Pete Dammon

Dammon Engineering 

