DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

April 18, 2007
STRUCTURAL CERTIFICATION

For:
Tabernacle Baptist Church




Deacon Roy Black

985-643-6130

Location:
2445 Fourth St.


Slidell, La 70458
Dear Mr. Black,
At your request, Dammon Engineering has made another inspection of the church building to see if it can be saved and renovated, even though deterioration and age of the existing building will make it difficult to do so.
I found that in redesigning some of the footings, replacing others, and designing new beams that would carry the loads imposed by the sagging roof, and possibly making alterations to the ceiling system, the structure could be made safe.

You have indicated that you want to use our services to design the modifications and to be available for coordination on the project.

With the above in mind, and with the knowledge that the church building is listed on the historic building list for Slidell, I will forward a copy of this letter to John Cramer at the City of Slidell.

The city presently has a “Stop Work Order” on the building and will not allow work to be resumed until you have a permit to do the work.

We will need to meet soon, to discuss options in the design.

Sincerely,

Emmett Dammon

La. License 8796

cc: 
John Cramer/City of Slidell - Building Inspection Dept.
