[image: image1.jpg]May 03 07 12:46p DAMMON ENGINEERING 985-641-8950

DAMMON ENGINEERING, INC.

dammouengineering.com

. CONSULTING DESIGN STUDIES EXPERT WITNESS
{1095 Florida Ave. .0, Box 2830 985-649-5832
Slidell, LA 70458 Slidefl, LA 70459 FAX 985.641-5950
To: Bidders

RE: Repairs to Tabernacle Baptist Church
2445 4" St
Slidell, Louisiana

Send seated bids to Dammon Engineering, Atta: Mr. Roy Black, Tabernsacle Baptist Church
Description of Work:

1. Provide sufficient temporary shoring walls, etc. and accomplish the following work:

a Demo existing ceilings, remove existing ceiling tiles and existing planking attached to
existing roof trusses in both main auditoriwm and front wing.

b. Raise and level trusses of main roof, which will level roof of front wing.

¢. Sister new framing members on existing trusses as required for support.

3 Install new concrete footings 3'x3°x2’ with #5 rebar @ 6” 0.c.. EW. Install two new
columps at juncture of auditorium and front wing (approximately 32 ft. apart) and
install Glulam beam at top of columbs to support main roof trusses.

e. Install Glulam horizontal beams (3) three each in auditorium to tie auditorium walls
together.

f Remove termite damage on roof framing and repair with new material having a
minimum of three feet overlap on solid material.

g. Install pew vertical and plumb rear wall in anditorium, to height of existing roof
trusses and tie together.

h. Install new wing wall in foyer that has been removed.

i. Install new 6x6 floor sills as required.

j. Install replacement 2x8 floor joist @ 16” o.c., new ¥ inch “strong ply” plywood
decking for sub floor in areas that floor is missing. Repair areas where holes have
been cut in floor.

k. Remove construction debris from site.

|. Obtain and pay for city permit, based ot the above work.

m. Agree in principle to work with Tabernacle Baptist as general contractor on the next
phase of the work, while allowing them to use free labor to do part of the work.

yd £1199v9586 NIQTing - 713aINs 40 ALD delieo L0 €0 Aei




