Dammon Engineering, Inc.

dammonengineering.com


1095 Florida Ave.


P.O. Box 2830



   985-649-5832

Slidell, LA 70458


Slidell, LA  70459

        FAX 985-641-5950

September 23, 2009

Mr. Lawrence Dulaune

Office of State Fire Marshal

8181 Independence Blvd.

Baton Rouge, LA 70806

RE:  
P0368920


Northshore Church


300 Kensington Ave


Slidell, LA 70458

Dear Mr. Delaune,

With regard to the above referenced project.  The project owner has requested that this project be split into separate  Phases.  Please find attached a drawing showing the separate phases.  We have required the contractor to build separating partitions to block the general public from entering the areas that are not serviced by an alarm system.  There is one area on the first floor that the electrical contractor will need to access and provisions have been  setup to lock the access door and label it “For Maintenance Only”.

Please find attached a revised drawing and battery calculation from Simplex Grinnell.  The UL printout for each device can be found in the existing package after each device.

If you have any questions, please feel free to call.

Sincerely,

David Dammon

Project Manager

