November 27, 2006

St. Tammany Parish

Mr. Joe Gustafson

P.O. Box

628 Covington, La. 70434

RE: Platform Crane Service, Inc.

       Paul Richard

       Doss Drive

       Slidell, La. 70458

Dear Joe,

We are requesting permission to connect a 6” Fire Water line into the parish water line under Powell Drive to enter a parish right of away to provide service to this site. The parish requirements are to bore and jack under Powell Drive.  However, we have visited the site and determined that this is not a situation where this scenario would work. 

The original street design of Powell Drive was a 12’ wide asphalt road, with the water lines being on the south side of Powell Drive.  Over the years, the parish has widened the road to 16’ wide to accommodate the traffic flow in that area. With the widening of the road, the water lines are now covered up under the asphalt road.  Therefore, we are asking permission to cut the road to allow installation of the Fire Water line to service this site.

Please call with any questions you may have.

Thanks,
Emmett G. (Pete) Dammon, P.E.

