June 29, 2005

Edwin Lee

Office of State Fire Marshal
8181 Independence Blvd.

Baton Rouge, LA  70806

Re:
PO295058 

Platform Crane

Doss Drive

Slidell, La. 

Dear Mr. Lee,

Per our conversation today, I have revised the drawings to reflect the changes that we discussed as follows:
A sprinkler will be installed in the office side of the building only.  A Fire Alarm will be installed in both the Office and Warehouse.

The wall that separates the office from the warehouse was noted to be a One Hour Fire Wall; I have revised this to a Two Hour Fire Wall.  Using the same UL# by adding an extra sheet of 5/8” Fire Rock to each side of the wall will give us a Two Hour Rated Wall. 

Thank you for calling me today to resolve these concerns.  If you have any other questions please do not hesitate to call me again.

Thanks,
Chuck Dammon

