Dammon Engineering, Inc.

dammonengineering.com


1095 Florida Ave.



P.O. Box 2830



            985-649-5832

Slidell, LA 70458



Slidell, LA  70459


   FAX 985-641-5950

December 9, 2005

Braithwaite Construction Co. Inc

RE:  
Manny Randazzo King Cake Bakery’s Foundation


Location : 3515 N. Hullen St.  Metairie, La

Dear Sir or Madam,

The following is in response is to your request to substitute stirrups made from a sheet of  4”x4”x#4/4 welded wire fabric (WWF) for the #3 stirrups called for on our plans.  This is an acceptable application for this particular job. 

You also requested to use 5/8” smooth dowel instead of deformed #5 bar in the pile caps.  This is an acceptable application for the pile caps only on this particular job.

Sincerely,

David Dammon

Project Manager

